TENDER SPECIFICATIONS

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Biomass boiler of 16 kW. It works with pellets and other granulated fuels:

Hot water circulating pump.

AISI 310 stainless steel burner.

Expansion tank of 8 l.

Safety valve (2.5 bar).

Water content in the boiler: 45 l.

Safety thermostat.

Drain valve.

Biomass boiler with a capacity of 97 Kg.

Regulation of the temperature in the boiler: from 60ºC to 87ºC.

Automatic cleaning system for the burner and ashes.

It includes boxes for separation and removal of ashes (burner, furnace and fumes passing chamber).

Fumes temperature to minimum thermal power: 90ºC.

Connection to the smokestack: 80 mm of diameter.

Double jacket storage tank made of stainless steel of 50 l for the DHW.

Unit heater:

Power: 14900 Kcal/h.

Air flow (at maximum speed of the fan): 1550 m³/h.

Box made of PMMA where the unit heater is located.

Three-ways electronic valve.

Solenoid valve located at the storage tank tap water inlet line.

Three regulation valves of the hot water through the different circuits.

Manometer, range: 0 - 4 bar.

Ten “J” type temperature sensors.

Three flow meter.

Electronic console:

Metallic box.

Temperature sensors connectors.

Digital display for the temperature sensors.

Selector for temperature sensors.

Switches for the solenoid valves.

Switch for the pump.

Pump regulator.

Fan switch.

Fan regulator.

Main switch.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Unit: - Dimensions: 2500 x 750 x 1500 mm approx. (98.42 x 29.52 x 59.05 inches approx.) - Weight: 250 Kg approx. (551 pounds approx.)

Electronic console: - Dimensions: 490 x 330 x 310 mm approx.(19.29 x12.99 x12.20 inches approx.) - Weight: 10 Kg approx. (22 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Familiarization with the operation of a heating and DHW system with biomass boilers.

2.- Start-up of a biomass boiler.

3.- Determining the inlet and outlet temperature of the heating water.

4.- Determining the temperature of the domestic hot water.

5.- Measurement of the heat transfer of different biomass fuels to the heating water.

6.- Energy balance in the heating circuit (unit heater) with different types of biomass fuels.

7.- Energy balance in the sanitary water circuit with different types of biomass fuels.

8.- Influence of the heating water flow variation in the heat transfer.

Optional

EBMB/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.