TENDER SPECIFICATIONS

The module includes:

Virtual Private Networks:

Maximum Throughput: 87 Mbps.

Maximum Concurrent Sessions: 16.

Protection Protocols: IPsec. Key Exchange: IKEv1, IKEv2.

Authentication: Passphrase, X.509, OCSP.

Accelerated Encryption Algorithms: AES.

Nonaccelerated Encryption Algorithms: 3DES, Blowfish.

Encryption Key Strength: 128-bit, 256-bit.

Routing Functions:

Static Routing.

Network Address Translation: Port Forwarding (DNAT).

Network Address Translation: Outbound NAT (SNAT).

Ethernet Protocols:

Address Resolution Protocol (ARP).

Dynamic Host Configuration Protocol (DHCP) Client.

Encapsulating Security Payload (ESP).

File Transfer Protocol (FTP).

Hypertext Transfer Protocol Secure (HTTPS).

Internet Control Message Protocol (ICMP).

Internet Key Exchange (IKEv1/v2).

Internet Protocol Security (IPsec) Protocol Suite.

Internet Secure Association and Key Management Protocol (ISAKMP).

Lightweight Directory Access Protocol (LDAP) Client.

Modbus TCP/IP.

Network Time Protocol (NTP) Client/Server.

Online Certificate Revocation Protocol (OCSP).

Remote Authentication Dial-In User Service (RADIUS).

Secure Shell (SSH) Client/Server.

Simple Network Management Protocol (SNMP).

Spanning Tree Protocol (STP).

Syslog.

Telnet.

Transmission Control Protocol (TCP).

Transport Layer Security (TLS).

User Datagram Protocol (UDP).

VLANS:

As many as 4 VLANs per network interface.

Security.

User-Based Accounts.

Maximum Local Accounts: 256.

Password Length: 8–128 characters.

Password Set: All printable ASCII characters.

Communications Ports:

Ethernet Ports.

Ports: 2 rear, 1 front.

Data Rate: 10 or 100 Mbps.

Front Connector: RJ45 Female.

Rear Connectors: RJ45 Female or LC Fiber (single-mode or multimode, 100 Mbps only).

Standard: IEEE 802.3.

Fiber Optic::

100BASE-FX Multimode Option (to 2 km).

Maximum TX Power: –14 dBm.

Minimum TX Power: –19 dBm.

RX Sensitivity: –30 dBm.

System Gain: 11 dB.

Source: LED.

Wavelength: 1300 nm.

Connector Type: LC (IEC 61754-20).

100BASE-LX10 Single-Mode Option (to 15 km):

Maximum TX Power: –8 dBm.

Minimum TX Power: –15 dBm.

RX Sensitivity: –25 dBm.

System Gain: 10 dB.

Source: Laser. Wavelength: 1300 nm.

Connector Type: LC (IEC 61754-20).

Serial Ports:

Type: EIA-232/EIA-422/EIA-485 (software selectable).

Data Rate: 1200 to 115200 bps.

Connectors: DB-9 Female (Ports 1–16), Isolated 8 pin (Port 17).

Power: +5 Vdc power on Pin 1 (500 mA maximum cumulative for 16 ports).

USB Ports:

1 Host Port: Type A (nonfunctional, for future use).

1 Device Port: Type B (nonfunctional, for future use).

Power Supply:

Rated Supply Voltage:

125–250 Vdc.

110–240 Vac, 50/60 Hz.

48–125 Vdc.

120 Vac, 50/60 Hz.

24–48 Vdc.

Input Voltage Range:

85–300 Vdc or 85–264 Vac.

38.4–137.5 Vdc or 88–132 Vac.

18–60 Vdc polarity dependent.

Power Consumption:

AC:<40 VA.

DC:<30 Watts.

Input Voltage Interruptions:

20 ms @ 24 Vdc.

20 ms @ 48 Vdc.

50 ms @ 125 Vac/Vdc.

100 ms @ 250 Vac/Vdc.

Dimensions: 490 x 330 x 310 mm. approx. (19.29 x 12.99 x 12.20 inches approx.).     Weight: 10 Kg. approx. (22 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Study of the Cybersecurity devices connection.

2.- Step by step Software installation.

3.- User accounts management.

4.- Study the cybersecurity Virtual Private Network (VPN).

5.- Study of Password management.

6.- Analysis and study of Firewall configuration.

7.- Getting results.