# TENDER SPECIFICATIONS

The unit includes:

Frame, of anodized aluminum, with measurement system to level the ends of the parabolic arch.

Parabolic arch made of tempered steel with 7 cords with hangers to hang the weights from them (uniformly distributed load or point load):

Length: 500mm.

Height: 200mm.

Cross section: 20 x 1.5mm.

Support systems:

Fixed end.

Movable end that moves horizontally along a guide. This end can be transformed into a fixed end.

3 pairs of pulleys that allow to lodge the weights required for:

To cancel out the horizontal displacement and to fix the movable support.

To compensate the vertical reaction of the support.

2 dial gauges, range: 0-25mm. Precision: 0.01mm.

Set of weights:

Weights to apply load on the parabolic arch:

7 hangers of 100 gr.

7 weights of 100 gr.

7 weights of 50 gr.

Weights to compensate the reactions in the fixed support:

4 hangers of 100 gr.

13 weights of 100 gr.

13 weights of 50 gr.

Storage cage, with packing foam, for the weights and hangers.

Manuals:	This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Security, Maintenance and Practices manual.

Dimensions and weights:

Unit: 850 x 400 x 700 mm. approx. (33.46 x 15.74x 27.56 inches approx.).     Weight: 30 Kg. approx. (66 pounds approx.).

Storage case for the weights and hangers: 350 x 300 x 150 mm approx. (13.78 x 11.81 x 5.9 inches approx.).      Weight: 5 Kg. approx. (11 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-	Study of the mechanical principles of a parabolic arch.

2.-	Differences between an isostatic arch and a hyperstatic arch.

3.-	Analysis of the arch under load:

Measurement of the deformations.

Measurement of the reactions of the supports in the hyperstatic arch.

4.-	Influence of a point load or an evenly distributed load on the reactions at the support and on the deformation of the arch.

5.-	Evaluation of the relation between applied load and horizontal displacement.

6.-	Comparison of the horizontal displacement with theoretical values.

7.-	Analysis of the horizontal thrust.

Optional:

## - MARP/CAI. Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (INS/SOF) totally integrated with the Student Software (MARP/SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

INS/SOF. Classroom Management Software (Instructor Software):

The Instructor can:

- Organize Students by Classes and Groups.

- Create easily new entries or delete them.

- Create data bases with student information.

- Analyze results and make statistical comparisons.

- Generate and print reports.

- Detect student’s progress and difficulties.

...and many other facilities.

This software, working in network configuration, allows controlling all the students in the classroom.

MARP/SOF. Computer Aided Instruction Software (Student Software):

It explains how to use the unit, run the experiments and what to do at any moment.

- This software contains:

Theory: gives the student the theoretical background for a total understanding of the studied subject.

Exercises: divided by thematic areas and chapters to check out that the theory has been understood.

Guided Practices: presents several practices to be done with the unit, showing how to perform the exercises and practices.

Exams: set of questions to test the obtained knowledge.

- MARP/CAL. Computer Aided Learning Software (Results Calculation and Analysis):

This Computer Aided Learning Software (Results Calculation and Analysis) “CAL” is a Windows based software, simple and very easy to use, specifically developed by EDIBON.

CAL is a class assistant that helps in doing the necessary calculations to extract the right conclusions from data obtained during the experimental practices. With a single click, CAL computes the value of all the variables involved and performs the calculations.

Also, CAL allows to plot and print the results. Within the plotting options, any variable can be represented against any other.

Available different plotting displays.

It has a wide range of information, such as constant values, unit conversion factors and integral and derivative tables.