# TENDER SPECIFICATIONS

The unit includes:

Frame of anodized aluminum.

Three arch segments to produce a symmetrical or unsymmetrical three-hinged arch:

Two long segments (they make a symmetrical arch together). Length of each long segment: 350mm. Total arch length: 700m.

One short segment (it makes an unsymmetrical arch together with one long segment). Length of the short segment: 160mm. Total arch length: 510m.

Arch height: 178mm.

Three hinges:

One central hinge.

Two side hinges.

Two pulleys with fixture.

One support.

Set of weights with pulleys to compensate for the support reactions of a side hinge and to add load along the bridge:

9 weights of 5N.

12 weights of 2N.

10 weights of 1N.

8 weights of 0.5N.

It includes ten 0.5N weight hangers and two moving loads to produce two point loads of different magnitude (10N+20N).

Storage case for the weights and hangers.

Manuals:	This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Security, 	Maintenance and Practices manual.

Dimensions and weights:

Unit: 900 x 400 x 700 mm. approx. (35.43 x 15.75 x 27.56 inches approx.).     Weight: 40 Kg. approx. (88 pounds approx.).

Storage case for the weights and hangers: 350 x 300 x 170 mm. approx. (13.78 x 11.81 x 6.69 inches approx.). Weight: 10 Kg. approx. (22 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-	Familiarization with three-hinged arches.

2.-	Understanding the characteristics of symmetrical and unsymmetrical three-hinged arches.

3.-	Study of the method of sections.

4.-	Application of the method of sections and the conditions of equilibrium to calculate the horizontal thrust for a point load.

5.-	Application of the method of sections and the conditions of equilibrium to calculate the horizontal thrust for a uniformly distributed load.

6.-	Application of the method of sections and the conditions of equilibrium to calculate the horizontal thrust for a distributed load.

7.-	Comparison of the calculated and measured horizontal thrust for a point load.

8.-	Comparison of the calculated and measured horizontal thrust for a uniformly distributed load.

9.-	Comparison of the calculated and measured horizontal thrust for a distributed load.

10.-Study of the influence line for the supports under a moving load and a point load.

11.-Comparison of the influence line for the supports under a moving load and a point load with the calculated values.

Additional practical possibilities:

12.-Simulation of a vehicle passing over an arch.

13.-Investigation of the relationship of the applied loads on the horizontal thrust in the supports.

Optional:

MART/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

## • User Data Base Management.

## • Administration and assignment of Workgroup, Task and Training sessions.

## • Creation and Integration of Practical Exercises and Multimedia Resources.

## • Custom Design of Evaluation Methods.

## • Creation and assignment of Formulas & Equations.

## • Equation System Solver Engine.

## • Updatable Contents.

## • Report generation, User Progression Monitoring and Statistics.

## - ESL-SOF. EDIBON Student Labsoft (Student Software).

## ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

## Innovative features:

## • Student Log-In & Self-Registration.

## • Existing Tasks checking & Monitoring.

## • Default contents & scheduled tasks available to be used from the first session.

## • Practical Exercises accomplishment by following the Manual provided by EDIBON.

## • Evaluation Methods to prove your knowledge and progression.

## • Test self-correction.

## • Calculations computing and plotting.

## • Equation System Solver Engine.

## • User Monitoring Learning & Printable Reports.

## • Multimedia-Supported auxiliary resources.