Tender Specifications

Bench-top unit with adjustable legs.

Anodized aluminum frame and panels made of painted steel.

The "MEPE" unit mainly consists of:

Two-part buckling bar with a central elastic joint:

Length: 520 mm (length of each part: 260 mm).

Cross-section: 20 x 20 mm.

Material: stainless steel.

The support of the two parts is articulated-articulated.

Device to apply compressive load:

Load application lever with scale.

Length of the load bar: 400 mm.

Device to apply shear force:

Deflection pulley to hold a weight holder and a set of weights.

Elastic clamp fixing to represent a fixed end:

It is formed by a steel leaf spring.

Length: 300 mm.

Cross-section: 10 x 2 mm.

Elasticity modulus: 210000 N/mm².

Elastic joint:

It is formed by two tension springs and a lever arm.

Spring rigidity: 1.67 N/mm.

Lever arm: 55 mm.

Three supports:

One articulated upper support to hold the load application lever, a weight holder and a set of weights.

Two articulated supports to hold the buckling bar and the leaf spring.

Set of weights:

8 x 5 N.

10 x 1 N.

It includes two 1 N weight holders.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 800 x 450 x 1000 mm approx. (31.49 x 17.72 x 39.37 inches approx.)  Weight: 20 Kg approx. (44.09 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Theoretical calculation of the critical buckling load in a system with elastic joint.

2.-  Experimental determination of the critical buckling load in a system with elastic joint.

3.-  Theoretical calculation of the critical buckling load in a system with elastic support.

4.-  Experimental determination of the critical buckling load in a system with elastic support.

5.-  Theoretical study of the relationship between angle and load in a system with elastic joint and lateral force.

6.-  Experimental determination of the load for the maximum rotation in a system with elastic joint and lateral force.

Optional

MEPE/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

BDAS. Basic Data Acquisition System and Sensors:

For being used with mechanical modules.

BDAS is designed to monitor the measurements of each mechanical module from a computer.