TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Three strain gauge test specimens (bars), each with strain gauge measuring points:

Torsion test bar:

- Material: stainless steel.

- Length: 500 mm.

- Diameter: 10 mm.

Tension test bar:

- Material: stainless steel.

- Length: 200 mm.

- Cross-section: 0.5 x 25 mm.

Bending test bar:

- Material: stainless steel.

- Length: 400 mm.

- Cross-section: 4 x 25 mm.

The strain gauges are inside a transparent cover that protects them and make them clearly visible for the visualization of the process.

Set of weights:

10 x 0.5 N.

1 x 5 N.

2 x 10 N.

1 x 20 N.

Console:

Metallic box.

Main switch.

Switch to tare the deformation measurements.

Strain gauges connectors.

Digital display for the deformation measurement.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Security, Maintenance and Practices manual.

Dimensions: Unit: 600 x 400 x 650 mm approx. (23.62 x 15.74 x 25.59 inches approx.). Weight: 20 Kg approx. (44 pounds approx.).

Electronic console: 300 x 190 x 130 mm approx. (11.81 x 7.48 x 5.11 inches approx.). Weight: 2.5 Kg approx. (5.51 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Introduction to the fundamentals of measuring with strain gauges.

2.- Study of the strain gauges and application techniques.

3.- Study of the strain and stress in a torsion system.

4.- Study of the strain and stress in a tension system and the elasticity modulus (Poisson's ratio and Young's modulus).

5.- Study of the strain and stress in a bending system.

6.- Calculation of the mechanical deformations under torsion, tension and bending.

7.- Study of the correlation between mechanical strain and electrical resistance in a strain gauge.

8.- Study of the tensile strain and stress in different materials and comparison of the elasticity modulus (Poisson's ratio and Young's modulus) (Recommended elements: "MEGE-A1", "MEGE-A2" and "MEGE-A3" are required).

9.- Comparison of different strain measurement systems and how they could measure force.

Optional

MEGE/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.