TENDER SPECIFICATIONS

Two acceleration sensors for recording oscillation travel, oscillation speed and acceleration:

Frequency range: 1 – 10 kHz, sensitivity: 100 mV/g.

Resonance frequency of about 32 kHz.

Optical tachometer sensor:

Range: 100 – 60000 rpm.

Optical range: up to 2 m.

Class 2 laser of 675 nm.

USB connection.

Additional recommended elements (Not included):

MDU-SD. Displacement Sensors for MDU Unit.

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Assessment of the vibration state of a machine.

2.-  Measuring the vibrations caused by unbalanced operation of rigid rotors in 1 and 2 planes.

3.-  Study of the basic essentials of the vibration measurement in shafts and bearings.

4.-  Study of the basic magnitudes and parameters.

5.-  Use of measuring sensors and instruments.

6.-  Understanding the influence of speed and shaft and recorder arrangements.

7.-  Learning to balance rigid shafts in operation and alignment between motor and bearing.

8.-  Understanding and interpreting the frequency spectra.

9.-  Learning about the different vibration signals.

10.- Applying the FFT analysis correctly.

11.- Measuring the speed, oscillation travel, oscillation speed and acceleration.

12.- Learning about the effects of alignment on different types of couplings.

13.- Learning about the effects of speed on vibration behavior.

14.- Learning about the effects of the balanced and unbalanced elastic rotor (MDU-SES kit required).

15.- Study of the variation of a typical vibration behavior (vibration velocity, frequency, amplitude, and phase) due to a fissure (MDU-SRS kit required).

16.- Identifying cracks and fissures in shafts through acceleration curves and order analysis (MDU-SRS required).

17.- Identifying a fissure through the variation of a vibration spectrum (MDU-SRS required).

18.- Estimating the life cycle of a roller bearing (MDU-SRBF required).

19.- Identifying faulty roller bearings (MDU-SRBF required).

20.- Checking the effects of roller bearing faults on outer and inner ring, or the roller bearing body on the vibration spectrum (MDU-SRBF required).

21.- Understanding the effect of ring gear hardness on claw couplings (MDU-SCO required).

22.- Comparing the curved tooth, bolt, flange or claw couplings (MDU-SCO required).

23.- Understanding the importance of belt tension in vibration behavior (MDU-SBD required).

24.- Checking the effect of the eccentricity in pulleys and the speed in vibration behavior (MDU-SBD required).

25.- Comparison between defective and non-defective belts (MDU-SBD required).

26.- Understanding and interpreting the frequency spectra in order to differentiate between defective and non-defective belts (MDU-SBD required).

27.- Identifying defects in the gears according to their vibration behavior (MDU-SSDG required).

28.- Learning about the effect of the toothed gear, the lubrication used and the wheelbase and the backlash (MDU-SSDG required).

29.- Identifying wear on the rod and piston (MDU-SCM required).

30.- Learning about the effect of bearing clearance and impacts (MDU-SCM required).

31.- Study of the vibrations of a centrifugal pump in operation (MDU-SSCP required).

32.- Understanding the cavitation phenomenon in a centrifugal pump (MDU-SSCP required).

33.- Identifying vibrations caused by the movable vanes in the vibration spectrum (MDU-SSCP required).

34.- Measuring the pitch frequency between movable vanes (MDU-SSCP required).

35.- Measuring the blower vibrations (MDU-SSCP required).

36.- Learning about the effect of an asymmetric air gap on the vibration behavior and the electromagnetic and performance losses (MDU-SEV required).

37.- Learning about the effect of the electrical windings on vibration behavior (MDU-SEV required).