TENDER SPECIFICATIONS

Bench-top unit mounted on an anodized aluminum structure and panel of painted steel.

Main metallic elements of stainless steel.

Dead-weight calibrator:

Diameter of the piston: 18 mm.

Area of the piston: 0.000254469 m2.

Weight of the piston: 0.5 Kg.

It uses water for safety and ease of use purposes.

Set of weights:

0.5 Kg., 1 Kg., 2.5 Kg., 5 Kg.

Bourdon type manometer, connected to the dead weight calibrator, range: 0-2.5 Bar (250kN/m2), class: 1.6. It includes a scale calibrated in degrees of rotation, apart from the usual pressure scale.

Electronic pressure sensor, connected to the dead weight calibrator, range: 0-2.5 Bar (250kN/m2).

Vessel, made of PMMA, to facilitate the priming of the calibrator.

An electronic console with two digital displays that show the output of the pressure sensor (in Volts) and the conditioned reading in engineering units. Besides the corresponding signals are sent to an I/O port for their acquisition via software in a computer (PC).

Electronic console:

Metallic box.

Pressure sensor connection.

Digital display for the pressure sensor (in kN/m2). Digital display for the pressure sensor (in Volts).

Connection to computer (PC).

Software to acquire data and to obtain the calibration curve (with slope and ordinate in the origin) both in function of the angular displacement of the needle and in function of the output voltage of the sensor.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: Unit: 500 x 350 x 350 mm. approx. (19.68 x 13.78 x 13.78 inches approx.).     Weight: 15 Kg. approx. (33 pounds approx.).

Electronic console: 310 x 220 x 145 mm. approx. (12.20 x 8.66 x 5.70 inches approx.).     Weight: 3 Kg. approx. (6.6 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-	Study of the concept of pressure (force/area).

2.-	Study of the function of a dead-weight pressure calibrator.

3.-	Study of the concepts of measurement and calibration (gauge and absolute pressures, zero error, non-linearity, scale error, conversion of arbitrary scale into engineering units).

4.-	Study of pressure scales.

5.-	Study of the operation and characteristic behaviour of a Bourdon type manometer.

6.-	Checking the readings of a Bourdon type manometer using a standard set of calibrated weights.

7.-	Calibration of a Bourdon type manometer in engineering units (kN/m2).

8.-	Calibration of a Bourdon type manometer in arbitrary units (angular displacement of needle).

9.-	Study of the operation and characteristic behaviour of a pressure sensor.

10-	Calibration of a pressure sensor (output voltage of the sensor).

11.-Calibration of a pressure sensor and signal conditioning circuit in engineering units.

12.-Study of the sources of error in measuring and calibration (signal conditioning, manufacturing tolerances, display resolution, friction and backlash…).