Tender Specifications

Bench-top wind tunnel in open circuit and with incompressible subsonic flow.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Inlet section with lips, a haven section and a 8:1 contraction ratio.

Transparent working area of 50 x 250 mm to assemble and test the different models.

The working area includes a Pitot static tube mounted in the top side.

Outlet section with diffuser that allows to avoid the generation of turbulences, which can generate damages the current quality in the working area.

Variable speed axial-flow fan:

Velocity range: 0 – 2800 rpm.

Air velocity in the working area: 0 – 27 m/s.

An electronic console contains the controller for the axial fan.

Sixty different pressure tappings (along the tunnel and in the models).

Water multi-manometer:

Anodized aluminum structure.

30º inclination approx.

Twenty manometric tubes of 250 mm length. Tubes inner diameter: 8 mm, to avoid bubbles.

Water tank for filling.

Drain valve.

Millimeter precision rules of 250 mm length.

Several models and accessories are available, allowing a comprehensive study of subsonic aerodynamics. All these models include several pressure tappings.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Models and Accessories included:

- TA1. House Scale Model.

- TA2. Cylinder Model.

- TA3. Convex Semi-Cylinder Model.

Optional Models and Accessories: (Not included)

- TA4. Car Model.

- TA5. Lorry Model.

- TA6. Lorry with Wind Deflector Model.

- TA7. Plane Model.

- TA8. Train Model.

- TA9. Projectile Model.

- TA10. Circular Disc Model.

- TA11. Wing of a Plane Model.

- TA12. Concave Semi-Cylinder Model.

- TA13. Blunt Element Model.

- TA14. Bernoulli Apparatus Model.

- TA15. Boundary Layer Plate Model.

- TA16. Model under “Custom Design”.

- TA17. Wake Survey Rake.

- TA18. Streamlined Shape (TA19 + TA50/250-TAR models are required).

- TA19. Lift and Drag Balance (TA50/250-TAR model is always required to operate TA18 and/or TA20 models).

- TA20. Drag Models (Sphere, Hemisphere, Convex, Hemisphere Concave, Circular Disc) (TA19 + TA50/250-TAR models are required).

- TA50/250-TAR. Forces Measurement Console (TA19 model is always required to operate TA18 and/or TA20 models).

- TA50/250-BLE. Boundary Layer Experiment Accessory.

- TA50/250-SG1. Smoke Generator.

Dimensions: 2720 x 820 x 700 mm approx. (107.08 x 32.28 x 27.56 inches approx.)  Weight: 220 Kg approx. (485 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Comprehensive study of subsonic aerodynamics and airflow studies.

2.-  Measurement of pressure distribution around a two dimensional body.

3.-  Study of flow visualization.

4.-  Study of static pressure, dynamic pressure and total pressure using a Pitot tube.

5.-  Study of velocity measurement using a Pitot tube.

6.-  Flux in a nozzle: Determination of the characteristics of the pressures field in a nozzle.

7.-  Flux in a nozzle: Observation of the local characteristics, depending on whether the walls have a curvature or not, as well as what happens at the inlet and outlet areas of the contraction.

8.-  House Scale Model (TA1): Study of aerodynamic forces due to the wind on a house.

9.-  House Scale Model (TA1): Determination of the aerodynamic loads generated by the wind on a house walls.

10.-Cylinder Model (TA2): Study of flow around a cylinder.

11.-Cylinder Model (TA2): Determination of the form of the pressures field around a cylinder on which a current perpendicular to the axis impacts.

12.-Cylinder Model (TA2): Determination, by the type of detachment, whether the boundary layer finally becomes turbulent or remains laminar.

13.-Cylinder Model (TA2): Determination of the resistance coefficient of the cylinder.

14.-Cylinder Model (TA2): Relation of all the above-mentioned with the Reynolds's number.

15.-Convex Semi-Cylinder Model (TA3): Study of flow around a convex semi-cylinder.

16.-Convex Semi-Cylinder Model (TA3): Determination of the field of pressures in the convex semi-cylinder.

17.-Convex Semi-Cylinder Model (TA3): Determination of the aerodynamic resistance coefficients in the convex semi-cylinder.

Additional practical possibilities to be done with the Optional Models and Accessories: (Not included)

18.-Study of aerodynamic forces due to the wind on a Car Model (TA4).

19.-Study of aerodynamic forces due to the wind on a Lorry Model (TA5).

20.-Study of aerodynamic forces due to the wind on a Lorry with Wind Deflector Model (TA6).

21.-Study of aerodynamic forces due to the wind on a Plane Model (TA7).

22.-Study of aerodynamic forces due to the wind on a Train Model (TA8).

23.-Study of aerodynamic forces due to the wind on a Projectile Model (TA9).

24.-Study of aerodynamic forces due to the wind on a Circular Disc Model (TA10).

25.-Study of aerodynamic forces due to the wind on a Wing of a Plane Model (TA11).

26.-Study of flow and pressure distribution around a Wing of a Plane Model (TA11) at different angles of attack.

27.-Study of aerodynamic forces due to the wind on a Concave Semi-Cylinder Model (TA12).

28.-Study of aerodynamic forces due to the wind on a Blunt Element Model (TA13).

29.-Study of effect of changing in Bernoulli Apparatus Model (TA14) the cross section and application of the Bernoulli equation.

30.-Study of laminar and turbulent boundary layer development with the Boundary Layer Plate Model (TA15) and the Boundary Layer Experiment Accessory (TA50/250-BLE).

31.-Study of static pressure, dynamic pressure and total pressure with the Wake Survey Rake (TA17).

32.-Study of aerodynamic forces due to the wind on a Streamlined Shape (TA18).

33.-Investigation into the influence of models shape in the drag forces (Lift and Drag Balance (TA19), Drag Models (TA20) and Forces Measurement Console (TA50/250-TAR)).

34.-Demonstration of flow patterns around different objects with the Smoke Generator (TA50/250-SG1).

Optional

TA50/250/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (INS/SOF) totally integrated with the Student Software (TA50/250/SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.