Tender Specifications (for main items)

1 AFTC. Unit:

This unit allows the detailed study of fluid friction pressure losses, which occur when a non-compressible fluid flows through pipes, valves, pipe fittings and flow metering devices.

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Six pipes of different diameter and roughness:

Rough pipe (PVC): external diameter: 25 mm and internal diameter: 17 mm.

Rough pipe (PVC): external diameter: 32 mm and internal diameter: 23 mm.

Smooth pipe (PMMA): external diameter: 10 mm and internal diameter: 6.5 mm.

Smooth pipe (PVC): external diameter: 20 mm and internal diameter: 16.5 mm.

Smooth pipe (PVC): external diameter: 32 mm and internal diameter: 26.5mm.

Smooth pipe (PMMA): external diameter: 25 mm and internal diameter: 17 mm (with measuring elements).

Types of valves:

Angle-seat valve.

Gate valve with cones.

Diaphragm valve.

Ball valve (straight shut-off valve).

Straight check valve (non-return).

Types of couplings:

Mesh filter: 20 mm.

Sudden widening. Its section changes from 25 mm to 40 mm.

Sudden contraction. Its section changes from 40 mm to 25 mm.

90º elbow: inner diameter: 20 mm.

“T” junction: inner diameter: 20 mm.

45º elbow: inner diameter: 20 mm.

45º “T” junction: inner diameter: 20 mm.

Symmetrical “Y” branch: inner diameter of each pipe: 20 mm.

Double 90º elbow: inner diameter: 20 mm.

Special couplings (made of methacrylate to observe their operation):

Pitot tube: length: 30 mm, external diameter: 4 mm and internal diameter: 2.5 mm.

Venturi tube: length: 180 mm, larger section: 32 mm and smaller section: 20 mm.

Diaphragm with measuring plate: larger diameter: 25 mm and smaller diameter: 20 mm.

The unit includes several ball valves to conduct the water flow through a certain pipe of the circuit and a regulation valve to regulate the flow that runs through such pipe.

34 pressure tappings with quick action connections.

Two pressure sensors, range: 0 – 30 psi.

One flow sensor, range: 2 – 150  l/min.

Two magnetic displacement sensors, range: 0 - 1 m. Two water manometers, length: 1000 mm.

The unit is designed for use with the Hydraulics Bench (FME00):

Mobile hydraulic bench, made of fibreglass reinforced polyester, and mounted on wheels for its mobility.

Computer controlled centrifugal pump, 0.37 kW, 30 - 80  l/min., at 20.1 - 12.8 m.

Sump tank, capacity: 165  l. Small channel, capacity: 8  l.

Flow measurement: volumetric tank, gauged from 0 to 7  l for low flow values and from 0 to 40  l for high flow values.

Control valve to regulate the flow.

The complete unit includes as well:

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

National Instruments Data Acquisition board (250 KS/s, kilo samples per second).

Calibration exercises, which are included, teach the user how to calibrate a sensor and the importance of checking the accuracy of the sensors before taking measurements.

Projector and/or electronic whiteboard compatibility allows the unit to be explained and demonstrated to an entire class at one time.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user's knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON Scada-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

2 AFTC/CIB. Control Interface Box:

The Control Interface Box is part of the SCADA system.

Control interface box with process diagram in the front panel.

The unit control elements are permanently computer controlled.

Simultaneous visualization in the computer of all parameters involved in the process.

Calibration of all sensors involved in the process.

Real time curves representation about system responses.

All the actuators’ values can be changed at any time from the keyboard allowing the analysis about curves and responses of the whole process.

Shield and filtered signals to avoid external interferences.

Real time computer control with flexibility of modifications from the computer keyboard of the parameters, at any moment during the process.

Real time computer control for parameters involved in the process simultaneously.

Open control allowing modifications, at any moment and in real time, of parameters involved in the process simultaneously.

Three safety levels, one mechanical in the unit, another electronic in the control interface and the third one in the control software.

3 DAB. Data Acquisition Board:

The Data Acquisition board is part of the SCADA system.

PCI Express Data acquisition board (National Instruments) to be placed in a computer slot.

Analog input: Channels= 16 single-ended or 8 differential. Resolution=16 bits, 1 in 65536. Sampling rate up to: 250 KS/s (kilo samples per second).

Analog output: Channels=2. Resolution=16 bits, 1 in 65536.

Digital Input/Output: Channels=24 inputs/outputs.

4 AFTC/CCSOF. Computer Control +Data Acquisition+Data Management Software:

The three softwares are part of the SCADA system.

Compatible with the industry standards.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

Sampling velocity up to 250 KS/s (kilo samples per second).

Calibration system for the sensors involved in the process.

It allows the registration of the alarms state and the graphic representation in real time.

Open software, allowing the teacher to modify texts, instructions. Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

5 Cables and Accessories, for normal operation.

6 Manuals:

This unit is supplied with 8 manuals: Required Services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance, Calibration & Practices Manuals.

*References 1 to 6 are the main items: AFTC + AFTC/CIB + DAB + AFTC/CCSOF + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

1.- Determination of pressure loss due to friction in a rough pipe with an internal diameter of 17 mm.

2.-  Determination of pressure loss due to friction in a rough pipe with an internal diameter of 23 mm.

3.-  Determination of pressure loss due to friction in a smooth pipe with an internal diameter of 6.5 mm.

4.-  Determination of pressure loss due to friction in a smooth pipe with an internal diameter of 16.5 mm.

5.-  Determination of pressure loss due to friction in a smooth pipe with an internal diameter of 26.5 mm.

6.-  Study of the influence of the diameter in the pressure loss due to friction in rough pipes.

7.-  Study of the influence of the diameter in the pressure loss due to friction in smooth pipes.

8.-  Study of the influence of the roughness in the pressure loss.

9.-  Determination of the friction coefficient in a rough pipe with an internal diameter of 17 mm.

10.-Determination of the friction coefficient in a rough pipe with an internal diameter of 23 mm.

11.-Determination of the friction coefficient in a smooth pipe with an internal diameter of 6.5 mm.

12.-Determination of the friction coefficient in a smooth pipe with an internal diameter of 16.5 mm.

13.-Determination of the friction coefficient in a smooth pipe with an internal diameter of 26.5 mm.

14.-Study of the influence of the diameter in the friction coefficient in rough pipes.

15.-Study of the influence of the diameter in the friction coefficient in smooth pipes.

16.-Comparison of the friction coefficient in smooth and rough pipes.

17.-Determination of pressure loss in an angle-seat valve.

18.-Determination of pressure loss in a gate valve.

19.-Determination of pressure loss in a diaphragm valve.

20.-Determination of pressure loss in a ball valve.

21.-Comparison of pressure loss in different types of valves.

22.-Determination of pressure loss in an in-line strainer.

23.-Determination of pressure loss in a 90º elbow.

24.-Determination of pressure loss in a double 90º elbow.

25.-Determination of pressure loss in a 45º elbow.

26.-Determination of pressure loss in a 45º “T”.

27.-Determination of pressure loss in a symmetrical “Y” branch.

28.-Determination of pressure loss in a narrowing.

29.-Determination of pressure loss in a gradual widening.

30.-Determination of pressure loss in a diaphragm.

31.-Comparison of pressure loss in the different fittings.

32.-Measurement of the flow with the Venturi tube.

33.-Determination of the discharge coefficient, Cd, in the Venturi d tube.

34.-Measurement of the flow with the Pitot tube.

35.-Determination of the discharge coefficient, Cd, in the Pitot tube.

36.-Comparison between the flow measured in the Venturi and Pitot tubes.

Additional practical possibilities:

37.-Sensors calibration.

38.-Study of the relationship between pressure losses due to fluid friction and the water flow rate.

39.-Determining the relationship between the pipe friction coefficients and Reynolds number for flow through a pipe with roughened bore.

40.-Determining of the resistance coefficients for bends, enlargements and contractions.

41.-Determining of characteristic curves of valves and fittings.

Other possibilities to be done with this Unit:

42.-Many students view results simultaneously.

To view all results in real time in the classroom by means of a projector or an electronic whiteboard.

43.-Open Control, Multicontrol and Real Time Control.

This unit allows intrinsically and/or extrinsically to change the span, gains; proportional, integral, derivate parameters; etc, in real time.

44.-The Computer Control System with SCADA allows a real industrial simulation.

45.-This unit is totally safe as uses mechanical, electrical and electronic, and software safety devices.

46.-This unit can be used for doing applied research.

47.-This unit can be used for giving training courses to Industries even to other Technical Education Institutions.

48.-Control of the AFTC unit process through the control interface box without the computer.

49.-Visualization of all the sensors values used in the AFTC unit process.

- Several other exercises can be done and designed by the user.

Tender Specifications (for optional items)

a) Technical and Vocational Education configuration

7 AFTC/ICAI. Interactive Computer Aided Instruction Software System.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

8 AFTC/FSS. Faults Simulation System.

Faults Simulation System (FSS) is a Software package that simulates several faults in any EDIBON Computer Controlled Unit.

The "FAULTS" mode consists in causing several faults in the unit normal operation. The student must find them and solve them.

There are several kinds of faults that can be grouped in the following sections:

Faults affecting the sensors measurement:

- An incorrect calibration is applied to them.

- Non-linearity.

Faults affecting the actuators:

- Actuators channels interchange at any time during the program execution.

- Response reduction of an actuator.

Faults in the controls execution:

- Inversion of the performance in ON/OFF controls.

- Reduction or increase of the calculated total response.

- The action of some controls is annulled.

On/off faults:

- Several on/off faults can be included.

b) Multipost Expansions options

9 Mini ESN. EDIBON Mini Scada-Net System.

EDIBON Mini Scada-Net System allows up to 30 students to work with a Teaching Unit in any laboratory, simultaneously.

The Mini ESN system consists of the adaptation of any EDIBON Computer Controlled Unit with SCADA integrated in a local network.

This system allows to view/control the unit remotely, from any computer integrated in the local net (in the classroom), through the main computer connected to the unit.

Main characteristics:

- It allows up to 30 students to work simultaneously with the EDIBON Computer Controlled Unit with SCADA, connected in a local net.

- Open Control + Multicontrol + Real Time Control + Multi Student Post.

- Instructor controls and explains to all students at the same time.

- Any user/student can work doing "real time" control/multicontrol and visualisation.

- Instructor can see in the computer what any user/student is doing in the unit.

- Continuous communication between the instructor and all the users/students connected.

Main advantages:

- It allows an easier and quicker understanding.

- This system allows you can save time and cost.

- Future expansions with more EDIBON Units.

The system basically will consist of:

This system is used with a Computer Controlled Unit.

- Instructor’s computer.

- Students’ computers.

- Local Network.

- Unit-Control Interface adaptation.

- Unit Software adaptation.

- Webcam.

- Mini ESN Software to control the whole system.

- Cables and accessories required for a normal operation.