TENDER SPECIFICATIONS

The “AMT/B” unit mainly consists of:

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Pipes network.

Lateral panel where all test elements are located.

Test pipes:

Aluminum pipe, 16 mm outer diameter.

PVC pipe, 25 mm outer diameter.

PVC pipe, 16 mm outer diameter.

PVC pipe, 20 mm outer diameter.

Methacrylate pipe, 16 mm outer diameter.

Test connections:

Connection of 4 pipes with drain or outlet valve.

Connection of 3 pipes.

Straight connection of a pipe with outlet valve.

Pipe connection with outlet pipe in the shape of a siphon.

Connection of 2 pipes with outlet valve. (3 units).

Connection of 2 pipes with pressure taking.

Connection of 2 pipes without pressure taking.

Manometers panel:

Two water manometers, 1000 mmH2O.

Two Bourdon type manometers, range: 0 – 2.5 bar.

Pressure takings in the test elements.

Valves for distributing the flow to the network.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance, and Practices Manuals.

Required elements (Not included):

- FME00: Hydraulics Bench.

Dimensions: 1500 x 1000 x 1700 mm approx. (50.05 x 39.37 x 66.93 inches approx.).  Weight: 200 kg approx. (441 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Head losses in a PVC pipe.

2.- Head losses in an aluminum pipe.

3.- Head losses in a methacrylate pipe.

4.- Study of head losses in pipes of the same material.

5.- Study of head losses in function of the material.

6.- Friction coefficient in a PVC pipe.

7.- Friction coefficient in an aluminum pipe.

8.- Friction coefficient in a methacrylate pipe.

9.- Study of the friction coefficient in function of the material.

10.-Study of the friction coefficient in function of the diameter.

11.-Parallel network configuration for pipes of same material and different diameter.

12.-Parallel network configuration for pipes of different material and same diameter.

13.-Series network configuration for pipes of different material and different diameter.

14.-Series network configuration for pipes of different material and same diameter.

Additional practical possibilities:

15.-Filling the manometers.

Optional

AMT/B/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.