Tender Specifications

Bench-top unit.

Anodized aluminum structure and panels of painted steel.

Main metallic elements of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Compressor:

Hermetic compressor.

Power: 1/2 CV.

Condenser:

Vertical transparent cylinder, through which the coil of heat exchange can be seen.

Totally hermetic by viton joints.

It has a copper coil through which circulates cooling water inside:

9 nickel-plated copper spires.

Diameter of coil: 1/4”.

Heat transfer area: 0.032 m² approx.

Expansion:

Expansion valve, float type, that is assembled on the condenser.

Sight glass placed between the expansion valve and the evaporator, to show the formation of vapour bubbles after the expansion valve.

Evaporator:

Vertical transparent cylinder, through which the coil of heat exchange can be seen.

Totally hermetic by viton joints.

It has a copper coil through which circulates water to promote the ebullition inside:

9 nickel-plated copper spires.

Diameter of coil: 1/4”.

Heat transfer area: 0.032 m² approx.

Instrumentation:

11 temperature sensors (”J” type) that indicate the water output and input temperatures, both in the condenser and in the evaporator, and the evaporation, condensation, expansion and enviromental temperatures.

2 flow meters, rotameter type, to measure the water flow (condenser and evaporator). Flow meters range: 0-2  l./min.

2 manometers indicate the refrigerant fluid pressure in the condenser and in the evaporator:

Manometer (condenser): from 0 to 6 bar.

Manometer (evaporator): from -1 to 1 bar.

Power measurement (wattmeter). Measure range from 0 to 1000W.

The unit has all necessary security measures for safe work:

Relief valve with a tare of 2.4 bar, so in case of overpressure in the condenser it will open.

High pressure cut-out, that stops the compressor if the condensation pressure exceeds 2.3 bar.

Other valves:

Isolation valves to allow easy maintenance and modification.

Control valves.

This unit has been designed for the use with the SES36 refrigerant gas, environmental friendly.

With the unit is supply following diagrams:

Mollier diagram of SES36 refrigerant.

Entalpy diagram of SES36 refrigerant.

Electronic console:

Metallic box.

Temperature sensors connections.

Digital display for temperature sensors.

Selector for temperature sensors.

Compressor switch.

Wattmeter digital display.

High pressure control connection.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: Unit: 700 x 700 x 720 mm. approx. (27.55 x 27.55 x 28.34 inches approx.)  Weight: 70 Kg. approx. (154.32 pounds approx.).

Electronic console: 490 x 330 x 310 mm. approx. (19.29 x 12.99 x 12.20 inches approx.) Weight: 10 Kg. approx. (22 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Demonstration of the vapour compression refrigeration and heat pump cycle.

2.-  Relation between pressure and temperature.

3.-  Demonstration of the refrigerant transfer from the evaporator to the condenser.

4.-  Charging demonstration.

5.-  Demonstration of the air effect in a refrigeration (cooling) system.

6.-  Evaporation and condensation temperatures effect in the refrigeration (cooling) rate and in the heat transfer at the condenser.

7.-  Analysis of the pressures relation effect in the system behaviour.

8.-  Determination of the system operation coefficients.

9.-  Measurement of the electrical power.

10.-Estimation of the heat transmission global coefficient between the SES36 refrigerant and the water.

Optional

TCRB/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager –ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft –ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

-ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

User Data Base Management.

Administration and assignment of Workgroup, Task and Training sessions.

Creation and Integration of Practical Exercises and Multimedia Resources.

Custom Design of Evaluation Methods.

Creation and assignment of Formulas & Equations.

Equation System Solver Engine.

Updatable Contents.

Report generation, User Progression Monitoring and Statistics.

-ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF  is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

Student Log-In & Self-Registration.

Existing Tasks checking & Monitoring.

Default contents & scheduled tasks available to be used from the first session.

Practical Exercises accomplishment by following the Manual provided by EDIBON.

Evaluation Methods to prove your knowledge and progression.

Test self-correction.

Calculations computing and plotting.

Equation System Solver Engine.

User Monitoring Learning & Printable Reports.

Multimedia-Supported auxiliary resources.