TENDER SPECIFICATIONS

Bench-top unit, with anodized aluminum structure and painted steel panels.

Main metallic elements of stainless steel.

Diagram in the front panel with similar distribution to the elements in the real unit.

Cooling compressor, power: ½ CV.

Air condenser. Air evaporator.

High pressure control.

Coolant accumulator. Coolant filter to retain particles of condensate.

Water evaporator, capacity: 1580 W. Water condenser, capacity: 1580 W.

Liquid separator to retain liquid particles before going on to the compressor. Expansion valve.

4 Manometers, situated at important points of the unit.

10 Temperature sensors (4 sensors measure the cooling temperature, 3 sensors measure the water temperature, 3 sensors measure the air temperature):

Temperature sensor, J type (compressor outlet).

Temperature sensor, J type (condenser outlet/evaporator inlet).

Temperature sensor, J type (evaporator inlet/condenser outlet).

Temperature sensor, J type (compressor inlet).

Temperature sensor, J type (water inlet).

Temperature sensor, J type (condenser outlet/evaporator).

Temperature sensor, J type (evaporator outlet/condenser).

Temperature sensor, J type (room air).

Temperature sensor, J type (condenser outlet/evaporator).

Temperature sensor, J type (evaporator outlet/condenser).

3 Flow meters: Cooling flow meter, range: 5-60  l./h. 2 Water flow meters (water condenser and water evaporator), range: 0.2-2  l./min.

Wattmeter.

4-Way valve (solenoid valve). Four valves to direct the coolant through the condensers and evaporators.

Enthalpy diagram of the R134a coolant.

Electronic console:

Metallic box.

Temperature sensors connections. Selector for temperature sensors. Digital display for temperature sensors.

High pressure control connection.

Fans ON/OFF switches. Fans speed regulators.

Cycle inversion valve connection. Cycle inversion valve switch.

Wattmeter display.

Compressor ON/OFF switch. Electronic console ON/OFF switch.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied whit the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: Unit: 900 x 600 x 500 mm. approx. (35.43 x 23.62 x 19.68 inches approx.).     Weight: 100 Kg. approx. (220 pounds approx.).

Electronic console: 490 x 330 x 310 mm. approx. (19.29 x 12.99 x 12.20 inches approx.).     Weight: 15 Kg. approx. (33 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-	Determination of COP (coefficient of performance) of a heat pump. Water as heat source. (Water-water heat pump).

2.-	Determination of COP (coefficient of performance) of a heat pump. Air as heat source. (Water-air heat pump).

3.-	Determination of COP (coefficient of performance) of a heat pump. Air as heat source. (Air-air heat pump).

4.-	Determination of COP (coefficient of performance) of a heat pump. Water as heat source. (Air-water heat pump).

5.-	Representation of performance curves of the heat pump with different inlet and outlet temperatures. Water as heat source. (Water-water heat pump).

6.-	Representation of performance curves of the heat pump with different inlet and outlet temperatures. Air as heat source. (Water-air heat pump).

7.-	Representation of performance curves of the heat pump with different inlet and outlet temperatures. Water as heat source. (Air-water heat pump).

8.-	Representation of performance curves of the heat pump with different inlet and outlet temperatures. Air as heat source. (Air-air heat pump).

9.-	Lay out of the refrigeration compression cycle in a diagram P-H and comparison with the ideal cycle. Water as heat source. (Water-water heat pump).

10.-Lay out of the refrigeration compression cycle in a diagram P-H and comparison with the ideal cycle. Air as heat source. (Water-air heat pump).

11.-Lay out of the refrigeration compression cycle in a diagram P-H and comparison with the ideal cycle. Water as heat source. (Air-water heat pump).

12.-Lay out of the refrigeration compression cycle in a diagram P-H and comparison with the ideal cycle. Air as heat source. (Air-air heat pump).

13.-Representation of the performance curves of the heat pump based on the properties of the refrigerant and at different condensation and evaporation temperatures. Water as heat source. (Water-water heat pump).

14.-Representation of the performance curves of the heat pump based on the properties of the refrigerant and at different condensation and evaporation temperatures. Air as heat source. (Water-air heat pump).

15.-Representation of the performance curves of the heat pump based on the properties of the refrigerant and at different condensation and evaporation temperatures. Water as heat source. (Air-water heat pump).

16.-Representation of the performance curves of the heat pump based on the properties of the refrigerant and at different condensation and evaporation temperatures. Air as heat source. (Air-air heat pump).

17.-Practices with cycle inversion.