Tender Specifications

Bench-top unit with anodized aluminum structure and panels of painted steel.

Main metallic elements of stainless steel.

Diagram in the front panel with similar distribution to the elements in the real unit.

Cooling compressor:

Type: hermetic.

Power: 1 CV.

2 air condensers.

2 water condensers, capacity: 1580 W.

High pressure switch.

Coolant accumulator.

Coolant filter to retain particles of condensate.

Expansion valve.

2 water evaporators, capacity: 1580 W.

2 air evaporators.

Liquid separator to retain liquid particles before being directed to the compressor.

4 manometers, situated at important points of the process.

13 type “J” temperature sensors.

5 flow meters:

Flow meters to measure the flow of coolant, range: 5-60  l./h.

2 water flow meters to measure the flow of water that circulates through the two water condensers, range: 0.2-2  l./min.

2 water flow meters to measure the flow of water that circulates through the two water evaporators, range: 0.2-2  l./min.

Wattmeter and power measurement.

Four-way valve (solenoid valve) .

4 valves to direct the coolant through the condensers and evaporators.

Enthalpy diagram of the R134a coolant.

Electronic console:

Metallic box.

Temperature sensors connections. Selector for temperature sensors. Digital display for temperature sensors.

High pressure control connection.

Fans ON/OFF switches. Fans speed regulators.

Cycle inversion valve connection. Cycle inversion valve switch.

Wattmeter display.

Compressor ON/OFF switch. Electronic console ON/OFF switch.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: Unit: 1000 x 950 x 750 mm. approx. (39.37 x 37.40 x 29.52 inches approx.)  Weight: 200 Kg. approx. (440 pounds approx.).

Electronic console: 490 x 450 x 470 mm. approx. (19.29 x 17.71 x 18.5 inches approx.)  Weight: 20 Kg. approx. (44 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Determination of the inlet power, generated heat and performance coefficient. Water as heat source. (Water-water heat pump).

2.-  Determination of the inlet power, generated heat and performance coefficient. Air as heat source. (Water-air heat pump).

3.-  Determination of the inlet power, generated heat and performance coefficient. Air as heat source. (Air-air heat pump).

4.-  Determination of the inlet power, generated heat and performance coefficient. Water as heat source. (Air- water heat pump).

5.-  Preparation of performance curves of the heat pump with different inlet and outlet temperatures. Water as heat source. (Water-water heat pump).

6.-  Preparation of performance curves of the heat pump at different inlet and outlet temperatures. Air as a heat source. (Water-air heat pump).

7.-  Preparation of performance curves of the heat pump with different inlet and outlet temperatures. Water as heat source. (Air-water heat pump).

8.-  Preparation of the performance curves of the heat pump with different inlet and outlet temperatures. Air as heat source. (Air-air heat pump).

9.-  Lay out of the steam compression cycle in a diagram P-H and comparison with the ideal cycle. Water as heat source. (Water-water heat pump).

10.-Lay out of the steam compression cycle in a diagram P-H and comparison with the ideal cycle. Air as heat source. (Water-air heat pump).

11.-Lay out of the steam compression cycle in a diagram P-H and comparison with the ideal cycle. Water as heat source. (Air-water heat pump).

12.-Lay out of the steam compression cycle in a diagram P-H and comparison with the ideal cycle. Air as heat source. (Air-air heat pump).

13.-Preparation of the performance curves of the heat pump based on the properties of the refrigerant and at different condensation and evaporation temperatures. Water as heat source. (Water-water heat pump).

14.-Preparation of the performance curves of the heat pump based on the properties of the refrigerant and at different condensation and evaporation temperatures. Air as heat source. (Water-air heat pump).

15.-Preparation of the performance curves of the heat pump based on the properties of the refrigerant and at different condensation and evaporation temperatures. Water as heat source. (Air-water heat pump).

16.-Preparation of the performance curves of the heat pump based on the properties of the refrigerant and at different condensation and evaporation temperatures. Air as heat source. (Air- air heat pump).

17.-Practices with cycle inversion.

Additional practical possibilities:

18.-Sensors calibration.

19.-Energy balance for the different components and for the complete cycle.

20.-Evaluation of the volumetric effectiveness of the compressor at different pressure relations.

21.-To estimate of the total thermotransference coefficient at the condenser and evaporator.

22.-Energy balance at the air evaporator.

23.-To estimate of the exchange heat at the water evaporator and outlet temperature of the water.

24.-Determination of the characteristic parameters of the steam compression cooling.

25.-Characteristic parameters of the steam compression cycle.

26.-Influence of overheating and overcooling during the operating cycle.

Optional

THIBAR44B/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager -ECM) totally integrated with the Student Software (EDIBON Student Labsoft -ESL). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

-ECM. EDIBON Classroom Manager (Instructor Software).

ECM is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

User Data Base Management.

Administration and assignment of Workgroup, Task and Training sessions.

Creation and Integration of Practical Exercises and Multimedia Resources.

Custom Design of Evaluation Methods.

Creation and assignment of Formulas & Equations.

Equation System Solver Engine.

Updatable Contents.

Report generation, User Progression Monitoring and Statistics.

-ESL. EDIBON Student Labsoft (Student Software).

ESL is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

Student Log-In & Self-Registration.

Existing Tasks checking & Monitoring.

Default contents & scheduled tasks available to be used from the first session.

Practical Exercises accomplishment by following the Manual provided by EDIBON.

Evaluation Methods to prove your knowledge and progression.

Test self-correction.

Calculations computing and plotting.

Equation System Solver Engine.

User Monitoring Learning & Printable Reports.

Multimedia-Supported auxiliary resources.