TENDER SPECIFICATIONS (for main items)

1 TGDEC. Unit:

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Using this unit, the operation of a two shaft gas turbine system for electric generation can be study and investigate.

High Pressure Turbine, that it is the Gas Generative Turbine. It consists of:

Radial compressor.

Tubular type combustion chamber.

Expansion turbine.

Operation speed range: 70000 – 90000 rpm.

Max. compression ratio: 2:1.

Max. fuel consumption: 20 Kg/hour.

Low Pressure Turbine (Power Turbine):

Speed range (r. p. m.): 15000 – 25000 rpm.

Electrical power: Measurement range: 0 – 200 W.

Asynchronous (motor) generator, computer controlled; speed range: 1500 – 3000 rpm.

Power turbine connection and generator by means of adjustable belt drive.

Start fan, driven by an electrical motor, for starting the turbine and gas sweep. This fan is automatically computer controlled and it is used to refrigerate.

Aspiration muffler.

Line of fuel gas, consists of:

Valve to open or to close the feeding.

Pressure regulation valve.

Flow meter (rotameter): 20 – 80  l/min.

Solenoid valve, automatically computer controlled.

Gas injector.

Spark plug, automatically computer controlled, powered by an ignition transformer.

Ionization electrode, automatically computer controlled, to detect that the flame is ignited, as security system.

Lubrication system, consists of:

Oil tank of 5  l.

Gear pump, automatically computer controlled, to impulse the oil to the bearings of both turbine shafts.

Filtration unit.

Two valves for regulating the oil feed to the turbine.

Plate heat exchanger to cool the oil leaving the turbines.

Tubular heat exchanger to cool the oil entering the turbines.

Water supply connections.

Exhaust gas outlet and exhaust muffler.

Sensors and instrumentation:

Eight temperature sensors, “K” type, placed in the different process stages (temperature range: 0 – 1100 °C):

Temperature of the inlet air to the compressor.

Temperature of the inlet air to the combustion chamber.

Temperature of the inlet gases to the gas generative turbine.

Temperature of the inlet gases to power turbine.

Temperature of the exhaust gases.

Temperature of the bearing lubrication oil.

Temperature of the inlet refrigeration water.

Temperature of the outlet refrigeration water.

Two speed sensors to measure the rpm of each turbine, measurement range: 0 – 200000 rpm.

Five pressure sensors, for measuring:

Fuel (propane gas) pressure at the combustion chamber inlet, range: 0 – 2 bar.

Pressure in the combustion chamber, range: 0 – 2 bar.

Pressure at the turbine outlet, range: 0 – 2 bar.

Compressor outlet, range: 0 – 2 bar.

Compressor inlet, range: 0 – 100 mbar.

Two flow sensors:

Inlet air, range: 0 – 3000 m³/h.

Outlet gases, range: 0 – 3000 m³/h.

Force sensor (load cell) of the generator.

Four manometers, range: 0 – 2 bar.

Three pressure switches to control air and oil circuits.

ATEX flowmeter for measuring the gas consumption at any moment.

Current and voltage generated measurement.

Handling box with PLC, which includes:

Front panel with LEDs indicating the unit status.

Oil temperature control display.

Safety system to prevent faults.

Operation with propane.

The complete unit includes as well:

Advanced Real-Time SCADA.

Open Control + Multicontrol + Real-Time Control.

Specialized EDIBON Control Software based on LabVIEW.

National Instruments Data Acquisition board (250 KS/s, kilo samples per second).

Calibration exercises, which are included, teach the user how to calibrate a sensor and the importance of checking the accuracy of the sensors before taking measurements.

Projector and/or electronic whiteboard compatibility allows the unit to be explained and demonstrated to an entire class at one time.

Capable of doing applied research, real industrial simulation, training courses, etc.

Remote operation and control by the user and remote control for EDIBON technical support, are always included.

Totally safe, utilizing 4 safety systems (Mechanical, Electrical, Electronic & Software).

Designed and manufactured under several quality standards.

Optional ICAI software to create, edit and carry out practical exercises, tests, exams, calculations, etc. Apart from monitoring user's knowledge and progress reached.

This unit has been designed for future expansion and integration. A common expansion is the EDIBON Scada-Net (ESN) System which enables multiple students to simultaneously operate many units in a network.

2 TGDEC/CIB. Control Interface Box:

The Control Interface Box is part of the SCADA system.

Control interface box with process diagram in the front panel.

The unit control elements are permanently computer controlled.

Simultaneous visualization in the computer of all parameters involved in the process.

Calibration of all sensors involved in the process.

Real time curves representation about system responses.

All the actuators’ values can be changed at any time from the keyboard allowing the analysis about curves and responses of the whole process.

Shield and filtered signals to avoid external interferences.

Real time computer control with flexibility of modifications from the computer keyboard of the parameters, at any moment during the process.

Real time computer control for parameters involved in the process simultaneously.

Open control allowing modifications, at any moment and in real time, of parameters involved in the process simultaneously.

Three safety levels, one mechanical in the unit, another electronic in the control interface and the third one in the control software.

3 DAB. Data Acquisition Board:

The Data Acquisition board is part of the SCADA system.

PCI Express Data acquisition board (National Instruments) to be placed in a computer slot.

Analog input: Channels= 16 single-ended or 8 differential. Resolution=16 bits, 1 in 65536. Sampling rate up to: 250 KS/s (kilo samples per second).

Analog output: Channels=2. Resolution=16 bits, 1 in 65536.

Digital Input/Output: Channels=24 inputs/outputs.

4 TGDEC/CCSOF. Computer Control +Data Acquisition+Data Management Software:

The three softwares are part of the SCADA system.

Compatible with the industry standards.

Flexible, open and multicontrol software, developed with actual windows graphic systems, acting simultaneously on all process parameters.

Management, processing, comparison and storage of data.

Sampling velocity up to 250 KS/s (kilo samples per second).

Calibration system for the sensors involved in the process.

It allows the registration of the alarms state and the graphic representation in real time.

Open software, allowing the teacher to modify texts, instructions. Teacher’s and student’s passwords to facilitate the teacher’s control on the student, and allowing the access to different work levels.

This unit allows the 30 students of the classroom to visualize simultaneously all the results and the manipulation of the unit, during the process, by using a projector or an electronic whiteboard.

5 Cables and Accessories, for normal operation.

6 Manuals:

This unit is supplied with 8 manuals: Required Services, Assembly and Installation, Interface and Control Software, Starting-up, Safety, Maintenance, Calibration & Practices Manuals.

*References 1 to 6 are the main items: TGDEC + TGDEC/CIB + DAB + TGDEC/CCSOF + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

EXERCISES AND PRACTICAL POSSIBILITIES TO BE DONE WITH THE MAIN ITEMS

1.-  Study of a gas turbine operation.

2.-  Determination of the gas turbine efficiency.

3.-  Determination of the compressor operation point.

4.-  Operation with power turbine.

5.-  Determination of fuel consumption.

6.-  Thermal efficiency.

7.-  Air standard cycle.

8.-  Heat balance.

9.-  Work ratio.

10.-Pressure ratio.

11.-Pressure loss.

12.-Air and fuel ratio.

13.-Combustion efficiency.

14.-Recording the turbine characteristic curve.

15.-Determination of the efficiency of the compressor.

16.-Determination of the efficiency of high pressure turbine.

17.-Determination of the efficiency of output turbine (low pressure).

18.-Temperatures measurements.

19.-Effective turbine power output.

20.-Safety systems in the operation of a gas turbine.

Additional practical possibilities:

21.-Sensors calibration.

Other possibilities to be done with this Unit:

22.-Many students view results simultaneously.

To view all results in real time in the classroom by means of a projector or an electronic whiteboard.

23.-Open Control, Multicontrol and Real Time Control.

This unit allows intrinsically and/or extrinsically to change the span, gains; proportional, integral, derivative parameters; etc, in real time.

24.-The Computer Control System with SCADA allows a real industrial simulation.

25.-This unit is totally safe as uses mechanical, electrical/electronic, and software safety devices.

26.-This unit can be used for doing applied research.

27.-This unit can be used for giving training courses to Industries even to other Technical Education Institutions.

28.-Control of the TGDEC unit process through the control interface box without the computer.

29.-Visualization of all the sensors values used in the TGDEC unit process.

- Several other exercises can be done and designed by the user.

TENDER SPECIFICATIONS (for optional items)

a) Technical and Vocational Education configuration

7 TGDEC/ICAI. Interactive Computer Aided Instruction Software System.

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

b) Multipost Expansions options

8 MINI ESN. EDIBON Mini Scada-Net System for being used with EDIBON Teaching Units.

MINI ESN. EDIBON Mini Scada-Net System allows up to 30 students to work with a Teaching Unit in any laboratory, simultaneously.

The MINI ESN system consists of the adaptation of any EDIBON Computer Controlled Unit with SCADA integrated in a local network.

This system allows to view/control the unit remotely, from any computer integrated in the local net (in the classroom), through the main computer connected to the unit.

Main characteristics:

- It allows up to 30 students to work simultaneously with the EDIBON Computer Controlled Unit with SCADA, connected in a local net.

- Open Control + Multicontrol + Real Time Control + Multi Student Post.

- Instructor controls and explains to all students at the same time.

- Any user/student can work doing "real time" control/multicontrol and visualisation.

- Instructor can see in the computer what any user/student is doing in the unit.

- Continuous communication between the instructor and all the users/students connected.

Main advantages:

- It allows an easier and quicker understanding.

- This system allows you can save time and cost.

- Future expansions with more EDIBON Units.

The system basically will consist of:

This system is used with a Computer Controlled Unit.

- Instructor’s computer.

- Students’ computers.

- Local Network.

- Unit-Control Interface adaptation.

- Unit Software adaptation.

- Webcam.

- MINI ESN Software to control the whole system.

- Cables and accessories required for a normal operation.