Tender Specifications

Unit mounted on an anodized aluminum frame and panels made of painted steel. The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Experimental unit for the training of apprentices in the refrigeration.

Design and investigation of circuits with electrical components from refrigeration field.

Electrical components mounted clearly visible and connected on terminal blocks.

A set of cables with wire end ferrules for wiring electrical components on terminal blocks.

Three pressure switches, two thermostats, a solenoid valve, a timer, four circuit breakers, five contactors, three relays, two capacitors.

Lamps and resistors to simulate energy consumption.

Main components of circuit:

Two pressure switches.

A differential pressure switch.

A set of terminal blocks.

A circuit breaker with start-up current limiter.

A timer.

A thermistor circuit breaker.

A PTC (Positive temperature coefficient) star-up relay.

A switch cabinet.

Five lamps.

Two capacitors.

A bimetallic circuit breaker (overheat protection).

An electromagnetic star-up relay.

An adjustable protection relay.

A time relay.

Five contactors.

A solenoid valve.

Two thermostats.

Technical details of main components of circuit:

Two pressure switches:

High pressure: 8 to 32 bar.

Low pressure: - 1 to 7 bar.

A differential pressure: 0.2  to 5 bar.

Two thermostats: -10 to 25 ºC.

A timer:

Two time switchable outputs.

Switching time: 0  to  60 min.

Five contactors:

2 x 3 NO, 1 NC.

3 x 4 NO.

Start-up and operating capacitor: 15µF, 80µF.

Power: 380 VAC, 50Hz, 3 Phases.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 900 x 500 x 1070 mm. approx. (35.43 x 19.68 x 41.33 inches approx.)  Weight: 47 Kg. approx. (103 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Wiring and precautions of starting current limiter.

2.-  Wiring and precautions of safety switch.

3.-  Wiring and programming of time relay, starting relay.

4.-  Wiring and precaution of service capacitor.

5.-  Wiring of circuit breaker and electromagnetic valve.

6.-  Star/delta wiring.

7.-  Changing the rotation direction in an AC three phase circuit.

8.-  Safety aspects about voltage operations.

Optional

TEIR/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.