TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Two transparent cylindrical columns, one for air and one for water. Each column:

- Diameter: 50 mm.

- Height: 550 mm

- Bed plates.

Two sizes of bed material (glass beads) are supplied:

- 170/300 micron.

- 250/420 micron.

The columns can be dismantled in order to remove the particle bed.

Water tank of 10  l capacity.

Water pump.

Compressor.

Water regulation valve and water flow meter, range: 0.07 – 0.55  l/min.

Two air regulation valves and two air flow meters, ranges: 3 – 21  l/min and 1 – 7.5  l/min.

Two pressure meters (manometers).

Electrical panel:

Lamp.

Compressor switch.

Pump switch.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 700 x 570 x 870 mm approx. (27.55 x 22.44 x 34.25 inches approx.)  Weight: 50 Kg approx. (110 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Study of the basis of fixed bed fluidization.

2.- Comparison of the fluidization process in water and air currents.

3.- Study of the pressure drop through fixed and fluidised beds in function of:

The flow speed.

The size of the bed particles.

Type of fluid: air or water.

4.- Verification of Carman-Kozeny equation.

5.- Study and determination of the minimum fluidization speed.

6.- Study and determination of the fluidization speed and comparison with theoretical calculated values (Ergun equation).

7.- Study of differences between particulate and aggregative fluidization.

8.- Observation of the “bubbling” fluidization phenomenon.

Optional

LFF/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.