TENDER SPECIFICATIONS

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Evaporation double jacket column, with a heating surface of 0.122 m³, 30 mm of internal diameter, 60 mm of external diameter and 1300 mm of length.

Membrane dosing pump, maximum flow 15  l/h, with flow control.

Single effect vacuum pump, maximum flow 3 m³/h and maximum vacuum of 150 microns.

Three tanks, capacity: 10 l  (for feeding, concentrated and evaporated).

Two graduated vessels for the storage of concentrated and evaporated product, capacity: 500 ml.

Coil coolant with length of 400 mm.

Heating element, range: 300 W.

Pressure safety cut out for pressure control in the column.

Ten temperature sensors, type “J”.

Flow meter (0.2 – 2 l/min).

Two manometers (0 – 2.5 bar).

Solenoid valve.

Electronic console:

Metallic box.

Temperature sensors connections.

Digital display for temperature sensors.

Selector for temperature sensors.

Pumps switches.

Heating resistance switch.

Heating resistance temperature control.

Solenoid valve connection.

Pressure safety cut out connection.

Main switch.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Required elements (Not included):

- TGV. Steam Generator (3 kW).

Additional recommended elements (Not included):

- EPDC. Falling Film Evaporator.

Basically, it consists of the following elements:

- Falling film evaporation column with jacket for the steam and temperature takings.

- Cyclone to favor the separation of the most volatile component from the least volatile component.

- Vessel of 500 ml to collect the concentrated product, located under the cyclone.

- Liebig-Wet refrigerant to condense the distilled product (useful length of 400 mm).

- Vessel to collect the evaporated.

Dimensions: Unit: 1000 x 805 x 2300 mm approx. (39.37 x 31.69 x 90.55 inches approx.). Weight: 115 Kg approx. (253.5 pounds approx.).

Electronic console: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx.). Weight: 10 Kg approx. (22 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Determination of the capacity of the evaporator.

2.- Study of the capacity of the evaporator in function of the work conditions.

3.- Study of the relation between condensed product and evaporated product.

4.- Verification of the mass balance over all system.

5.- Study of the mass balance of the solute.

6.- Verification of the mass balance of the water.

7.- Determination of the concentration of a sugared solution.

8.- Calculate the enthalpy of the volatile vapours.

9.- Calculate the mass of steam is used by means of an energy balance calculation.

10.-Determination the economy of evaporator.

11.-Energy balance of the tubular condenser.

12.-Determination of the heat transfer global coefficient.

13.-Determination of the CI coefficient for a tubular condenser.

14.-Investigation of effect of varying process parameters such as: vacuum, flow rate, temperature, recycle rate.

15.-Fruit juices and vegetable extracts concentration.

16.-Concentrated milk obtaining.

17.-Determination of the efficiency of the steam generator.

Optional

EPAB/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.