TENDER SPECIFICATIONS

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Packed column:

It consists of a glass cylindrical column of 1400 mm of height and 75 mm of internal diameter.

It is filled with Raschig rings of 10 mm diameter.

It includes glass ends for inlet and outlet of gases and liquids and for sample point.

Liquid circuit (water):

PVC glass storage tank, capacity: 40  l.

Centrifugal pump, maximum flow rate: 540  l/h.

The liquid flow that arrives at each moment to the column is measured with a flowmeter.

Glass diffusion shower.

PVC conduit for the effluent liquid with a control flow valve and one sampler.

Gas circuit (air and CO2):

Compressor (blower) provides a maximum flow of 6 m³/h and a maximum pressure of 1 bar.

The gas (CO2 or ammonia) is supplied by a cylinder, type bottle. (Not supplied with the unit)

Mixing system for the two gases streams.

Both gas flows are measured by two flowmeters installed in the panel.

Two control flow valves.

Instrumentation for the analytical measurement of CO2:

Glass syringe of 100 ml capacity, dedicated to extract the specific quantities of a sample to be analysed.

Two glass tanks located at different heights and interconnected. They contain an aqueous solution of KOH, in which the contained CO2 will be absorbed in the sample of gas to analyze.

Three way-valves to direct the gaseous currents during the analysis process.

There are transparent elements allowing a better visualization of the process.

Control panel:

Lamp. Automatic differential (RCB). Compressor switch. Pump switch.

Selector for temperature sensors. Digital display for temperature sensors.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Additional recommended elements: (Not included)

- CAG/M. Manual Meter to Measure the Concentration of CO in a Gaseous Current Directly.

- TERA. Refrigeration Water Recirculation Unit.

Dimensions: 1000 x 740 x 2600 mm approx. (39.37 x 29.13 x 102.3 inches approx.). Weight: 100 Kg approx. (220 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Study of the basic principles of the absorption of a gas into a liquid using a packed column.

2.-  Gas stream analysis.

3.-  Study of the hydrodynamic characteristics of a packed column.

4.-  Determination of the drag and flooding flows.

5.-  Determination of the mass transfer coefficient.

6.-  Checking of the mass balances.

7.-  Demonstration of methods of gas and liquid quantitative analysis.

8.-  Investigations of the variables influencing the efficiency of the absorption.

Additional practical possibilities:

9.-  Determination of the water, CO2 and air flow.

10.-Head loss in the column.

11.-Study of the simple desorption process.

12.-Measurement of the CO2 concentration in gaseous currents using a CO2 meter (It requires the additional recommended element CAG/M).

13.-Influence of temperature on the adsorption efficiency. (It requires the additional recommended element TERA).

Optional

CAG/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.