TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Eight corrosion cells. Each one consists of:

600 ml glass vessel with a cover.

Such cover has four orifices: two to put the test sheets, one for the reference electrode and another one for the gas diffuser tube.

Air circuit. It includes:

Air pump to introduce ambient air into the electrolyte solution, flow rate: 400  l/h.

Air flowmeter, range: 1 – 7.5  l/min.

Eight air control valves to adjust the air flow rate, one for each corrosion cell.

Gas circuit. It includes:

Gas inlet.

Gas flowmeter, range: 1 – 7.5  l/min.

Eight air control valves to adjust the gas flow rate, one for each corrosion cell.

Power supply of direct current (DC) that allows applying a direct current 0 – 30 V and 0 – 3 A output, with an intensity and voltage indicator.

Ag/AgCl reference electrode.

Salt bridge.

pH-meter to study and compare the influence of the electrolyte solution on the corrosion processes.

Set of test sheets (electrodes):

It consists of 40 x 20 mm sheets of variable thickness depending on the material.

Materials: copper, aluminum, iron, zinc, graphite, stainless steel and brass.

The service panel includes:

Miliammeter and a milivoltmeter to measure the intensity and the voltage in the electrodes.

Voltmeter/ammeter selector.

Cell selector.

Connecting terminals for the test sheets.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

- Dimensions: 1200 x 450 x 400 mm approx. (47.24 x 17.71 x 15.74 inches approx.) -Weight: 50 Kg approx. (110 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Galvanic potentials.

2.-  Study of galvanic couples.

3.-  Passivation of iron.

4.-  Influence of pH.

5.-  Aluminum anodizing process.

6.-  Cathodic protection.

7.-  Galvanic corrosion + oxidation.

8.-   Daniell cell construction to obtain standard potentials.

Additional practical possibilities:

9.-  Influence of the O2 concentration in the corrosion.

10.-Simultaneous study of corrosion in several cells.

11.-Electrolytic corrosion.

12.-Chemical inhibition.

13.-Prevention of scaling.

14.-Effect of internal stress.

15.-Water treatment studies:

- Calcium carbonate stabilization.

- Oxidation of iron and manganese in ground waters.

- Water softening by chemical precipitation.

- Desinfection of waste water with chlorine solutions.

Optional

EEC/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.