TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

The main elements are transparent to observe the process.

Diagram in the front panel with distribution of the elements similar to the real one.

Tank for the saturated solution with a capacity of 25  l. It includes:

“J” type temperature sensor.

Variable speed stirrer.

Tank for the undersaturated solution with a capacity of 25  l. It includes:

“J” type temperature sensor.

Heating circuit:

Tank with a capacity of 35  l. It includes:

Heating element with thermostat, power: 2 kW.

“J” type temperature sensor.

Level switch.

Pump to impel hot water:

Maximum flow rate: 8  l/min.

Maximum head: 10 m.

Two concentric tubes heat exchangers to heat the solution to be saturated.

Pump to impel the saturated solution:

Maximum flow rate: 20  l/min.

Maximum head: 40 m.

Two concentric tubes heat exchangers to cool the saturated solution.

Removable crystallization cell made of PMMA:

Approximate diameter: 40 mm.

Approximate height: 80 mm.

Flowmeter, range: 0 - 15  l/min.

Flow regulation by valves.

Electronic console:

Metallic box.

Temperature sensors connectors.

Digital display for the temperature sensors.

Selector for the temperature sensors.

Heating element controller.

Stirrer switch.

Pumps switches.

On/Off switches.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices.

QUCB/A:

Unit: -Dimensions: 1900 x 750 x 1800 mm. approx. (74.80 x 29.52 x 70.86 inches approx.). -Weight: 200 Kg. approx. (441 pounds approx.).

Electronic console: -Dimensions: 490 x 330 x 310 mm. approx. (19.29 x 12.99 x 12.20 inches approx.). -Weight: 12 Kg. approx. (26.4 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Understanding the principles of the cooling crystallization of solutions.

2.-  Study of the crystallization of solutions in a fluidized bed.

3.-  Study of the crystals size distribution.

4.-  Study of the factors that influence the crystals’ growth:

- Cooling temperature.

- Stirring level.

- Saturation time.

- Oversaturation.

Optional

QUCB/A/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.