TENDER SPECIFICATIONS

Mobile bench.

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Rectangular tank (soils container), with front side in methacrylate and back side in  aluminium, to cantain the sand. (Sand not included).

Two overflow pipes in the tank.

12 pressure tappings joined to a manometric tubes panel.

Feed water tank (capacity: 75  l).

Water pump: 0.37 KW, 30 – 80  l/min at 20.1 – 12.8 m.w.c

Control valve to regulate the water flow.

Water colletion tank (capacity: 75  l). This tank is connected to the feed water tank. It includes a system to avoid the pass          ing of sediment to the previous one.

Samples colletion tank. It includes a level sensor and a valves to control the emptying process.

Dye injection system: with dye vessel, with eight dye injection needles and regulation valve.

Set of typical models:

Sheet pile wall.

Two mesh gate.

Mobile accessory for pressure measurement.

Cables and Accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

- Dimensions: 1500 x 700 x 2000 mm approx. (59.05 x 27.55 x 78.73 inches approx.) - Weight: 200 Kg approx. (441 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Flow net construction.

2.- Flow line visualisation.

3.- Verification of Darcy´s Law.

4.- Comparison of experimental results with analytical solutions.

5.- To determine seepage rates.

6.- Seepage through an earth dam.

7.- Seepage underneath a sheet pile wall.

8.- Control of seepage through permeable soils by sub-soil drainage.

9.- To reduce uplift pressure and lateral thrust by drainage.

10.- Distribution of uplift pressure on hydraulic structures.

11.- Behaviour and formation of “quicksands”.

12.- To drain an excavation site using wells.

13.- Stability of an earth dam.

14.- Comparison of permeability according to the grain size.

15.- Sheet pile wall:

Study of the soil permeability.

Flow lines visualization.

Calculation of the equipotential lines

Pressures distribution.

16.- Permeability of the phreatic layer:

Study of the soil permeability.

Flow lines visualization.

Calculation of the equipotential lines.

Measurement of the infiltration speed.

Verification of the Law of Darcy.

17.- Flow through an earth dam:

Study of the soil permeability.

Flow lines visualization.

Calculation of the equipotential lines.

Pressures distribution.

Effects of the layer inclination.

Optional

PDFD/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.