# TENDER SPECIFICATIONS

Common items for the Chemical Reactors

1  QUS. Service Unit:

This unit is common for the Chemical Reactors, and can work with one or several reactors.

Accommodation and exchange system of the reactors, quick and easy to handle.

It supplies all the services for the operation of each reactor.

Anodized aluminum structure and panels of painted steel.

Main metallic elements in stainless steel.

Diagram in the front panel with similar distribution to the elements in the real unit.

2 Peristaltic dosing pumps with variable speed. Flow rate up to 3  l./h. (unit standard disposition). With another disposition, they could reach a flow rate up to 10  l./h.

Thermostatic bath of 6  l. capacity. Temperature control of hot water in order to maintain the reactor temperature.

Pump of 3  l./min., to impel the thermostatization water from the bath to the reactor.

2 Tanks for the reagents, of 1  l. capacity each one, made in Pyrex glass.

The control of the reaction is carried out by a conductivity sensor, which allows the reaction evolution parameterization in real time.

Three “J” type temperature sensors, one to know the thermostatic bath temperature in a continuous way and two sensors to know the water temperature at the thermostatic bath water inlet and outlet.

Quick connectors with shutoff valve that enable an easy coupling of the Service Unit to the 	chosen reactor.

All elements of this unit are chemically resistant.

Dimensions and weight (approx.): 800 x 800 x 1000 mm.  (31.49 x 31.49 x 39.37 inches ).  50 Kg. (110 pounds.).

2  Electronic console:

Metallic box.

Temperature sensors connectors. Digital display for temperature sensors. Selector for temperature sensors.

Peristaltic pumps controllers and switches.

Water pump switch.

Stirrer switches.

Heating element controller.

Dimensions and weight (approx.): 490 x 330 x 310 mm.  (19.29 x 12.99 x 12.20 inches.).  10 Kg. (22 pounds.).

3   Chemical Reactors

3.1 QRCA. Continuous Stirred Tank Reactor:

Small scale Continuous Stirred Tank Reactor designed to demonstrate the behaviour of a reactor used for homogeneous reactions liquid-liquid.

Anodized aluminum structure and panel of painted steel.

Main metallic elements in stainless steel.

Diagram in the front panel with similar distribution to the elements in the real unit.

Reactor body made in borosilicate glass, with a maximum capacity of 2  l., specially designed to work in continuous. It also allows batch operation.

Adjustable volume from 0.4 to 1.5  l.

Stainless steel heat transfer coil (5 loops of 60 mm of diameter) and a baffle (removable).

Stirrer.

Reactor lip with connectors for the appropriate sensors.

Temperature sensor “J” type to control the temperature into the reactor.

Conductivity cell to control the reaction. Measurement range up to 20 mS.

Quick connectors with shutoff valve that enable an easy coupling of the reactor to the Service Unit.

All elements of this unit are chemically resistant.

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions and weight (approx.): 330 x 330 x 500 mm.  (12.99 x 12.99 x 19.68 .).  10 Kg. (22 pounds).

3.2  QRT. Tubular Flow Reactor:

Reactor composed by a continuous tube where the reagents are introduced through the coil end and the products are obtained through the inverse end. Into it, a continuous reagents mix is produced, so the composition will be different at each point. This type of reactors are industrially used for homogeneous reactions liquid-liquid, generally in isothermal conditions.

With this small scale reactor the behaviour of this type of reactors used at industrial level can be observed.

Anodized aluminum structure and panel of painted steel.

Main metallic elements in stainless steel.

Diagram in the front panel with similar distribution to the elements in the real unit.

Tubular flow reactor of volume 0.4  l. Coil shaped. Placed into an acrylic vessel through which the cooling or heating medium circulates. Coil length: 20 m.

Electric pre-heater of 12 loops, and loop diameter of 70 mm approx., for the two reagents feed lines. It is before the mix and currents inlet to the reactor.

Temperature controlled by water jacketed.

Two temperature sensors “J” type to know the reagents outlet temperature from the pre-heater.

Conductivity cell to control the reaction. Measurement range up to 20 mS.

Reactor lip with connectors for the appropriate sensors.

Quick connectors with shutoff valve that enable an easy coupling of the reactor to the Service Unit.

All elements of this unit are chemically resistant.

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions and weight (approx.):  330 x 350 x 500 mm.  (12.99 x 13.78 x 19.68 inches ).  15 Kg. (33 pounds ).

3.3  QRD. Batch Reactor:

Small scale Bath Reactor designed for the kinetic study of homogeneous reactions liquid-liquid, both in adiabatic conditions and in isothermal conditions.

Anodized aluminum structure and panel of painted steel.

Main metallic elements in stainless steel.

Diagram in the front panel with similar distribution to the elements in the real unit.

The reactor body is an isolated vessel with a stainless steel external casing. The working volume is 1  l.

Heat transfer coil made in stainless steel and reactor baffle, of 5 loops of 60 mm of diameter. The tube internal diameter is of 6 mm and the external one is of 8 mm.

Stirrer.

Temperature sensor “J” type to control the temperature into the reactor.

Conductivity cell to control the reaction. Measurement range up to 20 mS.

Reactor lip with connectors for the appropriate sensors.

Quick connectors with shutoff valve that enable an easy coupling of the reactor to the Service Unit.

All elements of this unit are chemically resistant.

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions and weight (approx.): 330 x 330 x 500 mm.  (12.99 x 12.99 x 19.68 inches ).  10 Kg. (22 pounds ).

3.4  QRS. Stirred Tank Reactors in Series:

The stirred tank reactors in series are used to increase the reagents conversion referred to an only reactor and so obtain product with higher purity.

Anodized aluminum structures and panels of painted steel.

Main metallic elements in stainless steel.

Diagram in the front panel with similar distribution to the elements in the real unit.

3 Continuous stirred tank reactors connected in series.

The three reactors have different height to let product from the first reactor go to the second one and so on.

Reactors body made in pyrex glass with a volume of 2  l.

Each reactor is fitted with a conductivity cell. Measurement range up to 20 mS.

Each reactor has a stirrer.

The two reagent vessels and the two variable speed dosing pumps (at the QUS Service Unit) feed reagents into the first reactor in line.

A dead-time residence coil can also be attached to the exit of the last reactor in the series.

3 Temperature sensors “J” type, one in each reactor.

Quick connectors with shutoff valve that enable an easy coupling of the reactors to the Service Unit.

All elements of this unit are chemically resistant.

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions and weight (approx.):  950 x 450 x 600 mm.  (37.40 x 17.71 x 23.62 inches ).  35 Kg. (77 pounds ).

3.5  QRL. Laminar Flow Reactor:

Small scale Laminar Flow Reactor designed to demonstrate the flow pattern characterisation and the steady state conversion in a tubular reactor.

Anodized aluminum structure and panels of painted steel.

Main metallic elements in stainless steel.

Diagram in the front panel with similar distribution to the elements in the real unit.

Working volume: 400 ml.

Laminar flow reactor constituted by a glass column of 400 ml. and 1000 mm long, including 2 diffusers packed with glass balls of 3 mm.

At the bottom of the column a premixer provides a complete mixing of the reagents entering the reactor and improves the flow distribution.

The reactor refrigeration jacket keeps its contents at constant temperature to keep the laminar flow conditions.

1 Temperature sensor “J” type.

Conductivity cell to control the reaction. Measurement range up to 20 mS.

Quick connectors with shutoff valve that enable an easy coupling of the reactor to the Service Unit.

All elements of this unit are chemically resistant.

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions and weight (approx.): 330 x 330 x 1490 mm.  (12.99 x 12.99 x 58.66 inches ).  25 Kg. (55 pounds ).

3.6   QRP. Plug Flow Reactor:

Small scale Plug Flow Reactor designed to demonstrate the flow pattern characterisation and the steady state conversion in a tubular reactor with axial dispersion.

Working volume: 1  l.

Anodized aluminum structure and panels of painted steel.

Main metallic elements in stainless steel.

Diagram in the front panel with similar distribution to the elements in the real unit.

Plug reactor constituted by a glass column of 1  l. and 1100 mm long, packed with 3 mm diameter glass balls.

At the bottom of the column a premixer provides a complete mixing of the reagents entering the reactor and improves the flow distribution.

The unit uses a 6 ways injection valve, which allows either the feeding of reagents in a continuous way or the possibility to carry out pulse and step changes to characterization of the flow pattern.

1 Temperature sensor “J” type.

Conductivity cell to control the reaction. Measurement range up to 20 mS.

Quick connectors with shutoff valve that enable an easy coupling of the reactor to the Service Unit.

All elements of this unit are chemically resistant.

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions and weight (approx.): 330 x 330 x 1350 mm.  (12.99 x 12.99 x 53.15 inches ).  25 Kg. (55 pounds ).

4  Cables and Accessories, for normal operation.

5  Manuals:

This trainer is supplied with the following Manuals for each Chemical Reactor: Required service, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

EXERCISES AND PRACTICAL POSSIBILITIES

Some Practical Possibilities of the Trainer:

Practices to be done with the Continuous Stirred Tank Reactor (QRCA):

1.- 	Determination of the ionic conductivities.

2.- 	Batch operation. Obtaining of the reaction order respect to ethyl-Acetate. Initial velocity method.

3.-	Batch operation. Obtaining of the reaction order respect to sodium hydroxide. Initial velocity method.

4.-	Batch operation. Velocity Constant Computation. Constant sodium hydroxide initial concentration.

5.-	Batch operation. Velocity Constant Computation. Constant ethyl-acetate initial concentration.

6.-	Velocity equation formulation.

7.-	Batch operation. Variation of the kinetic constant with temperature. Arrhenius Equation.

8.-	Batch operation. Theoretical and experimental conversion comparative. Deviation from ideality.

9.-	Batch operation. Mixture effects.

10.-	Continuous operation.

11.-	Continuous operation. Mixture effects.

12.-	Conductivity measurement system: conductimeter.

13.-	Variation of conversion with residence time.

14.-	Residence time distribution.

15.-	Determination of the reaction rate constant.

Practices to be done with the Tubular Flow Reactor (QRT):

16.-	Analysis of reagents and products.

17.-	Ionic conductivities determination.

18.-	Theoretical conversion of the tubular reactor.

19.-	Experimental determination of the conversion of the tubular reactor.

20.-	Dependence of the residence time.

21.-	Determination of the reaction order.

22.-	Dependence of the speed constant and the conversion with the temperature.

23.-	Conductivity measurement system: conductimeter.

24.-	Complete emptying of the unit.

25.-	Determination of the reaction rate constant.

Practices to be done with the Batch Reactor (QRD):

26.-	Determination of the ionic conductivities.

27.-	Batch operation. Calculation of the order of the reaction referred to the ethyl-acetate. Initial velocity method.

28.-	Batch operation. Determination of the order of the reaction referred to the sodium hydroxide. Initial velocity method.

29.-	Batch operation. Determination of the speed constant, the initial concentration of the sodium hydroxide is constant.

30.-	Batch operation. Determination of the speed constant, the initial concentration of the ethyl acetate is constant.

31.-	Formulation of the speed equation.

32.-	Batch operation. Variation of the kinetic constant when the temperature is not constant: Arrhenius equation.

33.-	Batch operation. Comparison of the theoretical and the experimental conversion: Deviation from the ideality.

34.-	Calculation of the heat transference coefficient of the coil.

35.-	Calculation of the hydrolysis reaction enthalpy.

36.-	Batch operation. Mixture effects.

37.-	Conductivity measurement system: conductimeter.

Practices to be done with Stirred Tank Reactors in Series (QRS):

38.-	Investigation of dynamic behaviour of stirred tank reactors in series.

39.-	Determination of the ionic conductivities.

40.-	Influence of flow rate.

41.-	Work with just one reactor in continuous.

42.-	Work with just one reactor in continuous with mixture effects.

43.-	Work with 3 reactors in continuous.

44.-	Effect of step input change.

45.-	Response to an impulse change.

46.-	Investigation of time constant using dead time coil.

Practices to be done with Laminar Flow Reactor (QRL):

47.-	Determination of the residence time distribution of the reactor.

48.-	Effect of flow rate and feed concentration on the determination of flow pattern.

49.-	Steady state conversion for a reaction with laminar flow.

50.-	Effect of flow rate and feed concentration on the steady state conversion.

51.-	Demonstration of the flow pattern in the reactor and comparison with the theoretical model.

52.-	Effect of the temperature on the laminar flow characterisation.

53.-	Determination of the steady state conversion of a second order reaction.

54.-	Flow pattern characterisation in a laminar flow reactor.

55.-	Conductivity measurement system: conductimeter.

Practices to be done with Plug Flow Reactor (QRP):

56.-	Determination of the residence time distribution of the reactor.

57.-	Effect of flow rate and feed concentration on the determination of flow pattern.

58.-	Study of the reactor response to different perturbations: step and pulse change.

59.-	Effect of flow rate and feed concentration on the steady state conversion.

60.-	Demonstration of the flow pattern in the reactor and comparison with the theoretical model.

61.-	Determination of the steady state conversion of a second order reaction.

62.-	Understanding the principles of tracer techniques in flow pattern characterisation.

63.-	Conductivity measurement system: conductimeter.