Tender Specifications

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

All elements of this unit are chemically resistant.

Supply unit:

Storage tank for raw water, volume: 400  l.

Process unit:

Peristaltic pump to supply raw water:

Max. flow: 240  l/h.

Max. head: 8 bar.

Transparent precipitation tank. Volume: 10  l. It includes:

Adjustable speed stirrer with display for rpm (0 – 2200 rpm).

“J” type temperature sensor.

Transparent coagulation-flocculation tank made of PETG. Total volume: 45  l.

It is divided into two main tanks, coagulation and flocculation.

It includes four adjustable speed stirrers with display for rpm (0 – 2200 rpm).

Transparent lamella separator made of PETG. Volume: 100  l.

21 removable lamelas made of PMMA with a preset angle of inclination of 60º.

The number and inclination of the lamellas can be changed.

Sludge tank made of HDPE. Volume: 20  l.

Treated water tank made of HDPE. Volume: 400  l.

Three tanks for the addition of chemicals made of HDPE. Volume: 20  l.

Three adjustable speed pumps for the addition of reagents:

Maximum flow: 2.1  l/h.

Maximum pressure: 5 bar.

Double regulation range: 0 – 100% and 0 – 20%.

Flow meter to measure the raw water flow, range: 15 – 160  l/h.

pH/conductivity and total dissolved solids sensor:

pH range: 0 – 14.

Conductivity range: 0 – 1990 µS/cm.

Total dissolved solids range: 0 – 1990 ppm.

Inclined seat valve to regulate the raw water flow.

Flushing and cleaning valve for the separator.

Six sample collection points distributed in different tanks of the unit.

LEDs for the coagulation-flocculation process visualization.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: Supply unit: 1100 x 800 x 800 mm approx. (43.30 x 31.49 x 31.49 inches approx.)  Weight: 50 Kg approx. (110 pounds approx.)

Process unit: 1900 x 950 x 1810 mm approx. (74.80 x 37.40 x 74.25 inches approx.)  Weight: 350 Kg approx. (771 pounds approx.)

Electronic console: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx.)  Weight: 10 Kg approx. (22 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Familiarization with precipitation, flocculation and sedimentation processes.

2.-  Analysis of the pH influence on precipitation.

3.-  Analysis of the stirring influence on precipitation, coagulation and flocculation.

4.-  Study of the operation of a lamella separator and influence of the number of lamellas.

5.-  Quantitative analysis of the amount of precipitant, coagulant and flocculant in the water treatment process.

6.-  Determination of a steady operating state.

Additional practical possibilities:

7.-  Treating wastewaters with different characteristics.

8.-  Choosing the most appropriate reagents for each type of raw water thanks to the results of the gravimetric analysis.

9.-  Comparing possible methods to determine the efficiency of the coagulation, flocculation and settling processes.

Optional

SPFB/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (INS/SOF) totally integrated with the Student Software (SPFB/SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.