TENDER SPECIFICATIONS

Anodized aluminum frame and panels made of painted steel.

The unit includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Tank. Dimensions: 1200 x 820 x 210 mm.

Control valve.

Solenoid valve.

Flowmeter, range: 0.5 – 5  l/min.

Two individually adjustable square pattern spray nozzles.

Height adjustable overflow.

Separable exit chamber with mesh screen.

Drainage system:

Vessel divided internally into seventeen storage compartments of 0.9  l each.

Central drainage channel.

Drive motor.

Accessories:

Polyethylene sheet for impermeable catchment.

Four plastic vessels for reservoir storage.

Drainage line pipe

Electronic console:

3.5" touch screen:

Control of the measurement time for each compartment.

Rainwater control.

Display of delay time.

Main switch.

Cables and accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Required elements (only one) (Not included):

- FME00. Hydraulics Bench.

or

- FME00/B. Basic Hydraulic Feed System.

Dimensions: Unit: 1500 x 1000 x 1000 mm approx. (59.05 x 39.36 x 39.36 inches approx.). Weight: 180 Kg approx. (396 pounds approx.).

Electronic console: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx.). Weight: 10 Kg approx. (22 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Recording of hydrographs.

2.- Study of hydrographs from one or more storms.

3.- Calculation of the concentration time for a short storm.

4.- Study of storm hydrographs from a variable permeability catchment area.

5.- Study of storm hydrographs from an impermeable catchment area.

6.- Analysis of the influence of a moving storm on a flood hydrograph.

7.- Analysis of the influence of reservoir storage on a flood hydrograph.

8.- Analysis of the influence of land drains on a flood hydrograph.

Optional

RHU/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.