Tender Specifications

Unit mounted on a movable bench with metallic frame and painted steel panels.

It includes wheels to facilitate its mobility.

Main metallic elements made of stainless steel.

Diagram in the front panel with similar distribution to the elements in the real unit.

Rectangular tank (to contain the soil/sand):

- Dimensions: 1050 x 25 x 500 mm.

- Frame made of aluminum.

- A rear wall and a front wall made of glass to visualize the water movements, dimensions: 1020 x 460 mm.

- The front wall of the tank includes a grid to facilitate the measurement of water penetration rate in the soil.

Water supply tank, capacity: 75  l.

Water pump, power: 0.077 KW.

Regulation valve to regulate the water flow.

Flow meter, range: 0.2-2  l./min.

A pressure regulator for the suitable performance of the flood and drip system.

Two filters to prevent impurities from passing to the irrigation system.

A flood and drip system to demonstrate different types of irrigation. It is made of:

- Four drip output valves.

- Three flood output valves.

Overflow system to remove surface water.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 1200 x 600 x 1200 mm. approx. (47.24 x 23.62 x 47.24 inches approx.).  Weight: 80 Kg. approx. (176 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Study and visualization of drainage systems.

2.-  Visualization of the surface irrigation systems.

3.-  Study and understanding of surface and sub-surface effects of surface water application.

4.-  Study of the filtration rate.

5.-  Visualization of the effect of crusting on infiltration.

6.-  Visualization of the effect of soil particle size on infiltration.

Additional practical possibilities:

7.-  Study of infiltration and surface run-off.

8.-  Study and demonstration of optimum irrigation application rates to maximize infiltration and minimize surface run-off.

Optional

PTSA/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager –ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft –ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

-ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

User Data Base Management.

Administration and assignment of Workgroup, Task and Training sessions.

Creation and Integration of Practical Exercises and Multimedia Resources.

Custom Design of Evaluation Methods.

Creation and assignment of Formulas & Equations.

Equation System Solver Engine.

Updatable Contents.

Report generation, User Progression Monitoring and Statistics.

-ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF  is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

Student Log-In & Self-Registration.

Existing Tasks checking & Monitoring.

Default contents & scheduled tasks available to be used from the first session.

Practical Exercises accomplishment by following the Manual provided by EDIBON.

Evaluation Methods to prove your knowledge and progression.

Test self-correction.

Calculations computing and plotting.

Equation System Solver Engine.

User Monitoring Learning & Printable Reports.

Multimedia-Supported auxiliary resources.