Unit for demonstrating the hydrological principles of groundwater flow and the applications of these to different engineering constructions. It allows the investigation of ground water flows, the drainage processes and the effect of the permeability.

It is possible to study the use of wells, de-watering and drainage of lakes, and demonstration of ground drainage works, among others.

This unit allows a quick configuration of any easy situation of tridimensional flow and to measurement the piezometric levels at different and appropriate places within the model, making possible to obtain realistic experimental results.

TENDER SPECIFICATIONS

Unit mounted on anodized aluminium profiles and painted steel panels.

Diagram in the front panel with similar distribution to the elements in the real unit.

A test tank, made in fibreglass reinforced polyester, 1000 mm of length x 500 mm of width and 240 mm of depth.

Two membrane valves to regulate water inlet flows to the test tank.

Two wells simmetrically located in the test tank.

Two membrane valves to regulate water outlet flows from the wells.

19 tappings to measure the hydraulic gradients, connected to column water manometers of 300 mm. long. The manometers have individual ball valves to purge the tubes.

Air manual pump connected to the manometers.

Three accessories that make it easy the construction of the different models object of study:

1.-Rectangular model for a lake construction.

2.-Rectangular model for an excavation construction.

3.-Cylindrical model for a confined aquifer construction.

Flexible pipes and quick connectors.

This unit incorporates wheels for its mobility.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions:1100 x 650 x 1400 mm. approx.   Weight: 100 Kg. approx.

EXERCISES AND PRACTICAL POSSIBILITIES

Some Practical Possibilities of the Unit:

1.-	Demonstration of hydraulic gradients in ground water flow, including the effect of permeability.

2.-	Investigation of hydraulic gradients for different models built on the test tank.

3.-	Determination of the ground water level between inlet and outlet.

4.-	Demonstration of the Darcy’s Law.

5.-	Study of the cone of depression for a well in a confined aquifer.

6.-	Study of the cone of depression for a well in a free aquifer.

7.-	Study of the cone of depression cone for two wells.

8.-	Experiment to obtain hydraulic gradients for a model with two wells. Compare it with the result of only one well by the superposition method.

9.-	Draining of or lake model.

10.-	De-watering of an excavation model under freatic level.

11.-	De-watering of an excavation model using two wells.

12.-	Interaction of cones of depression by two adjoining wells.

13.-	Draw-down curves for one well and two wells systems.

14.-	Comparison of different profiles, combinations.

15.-	How to fill the manometer tubes.