TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Suction system, including:

Water tank with drain valve, capacity: 6  l, approx.

Water pump, max. flow: 3  l/min.

Water jet pump, flow: 5  l/min, suction flow: 0.5  l/min.

It includes a quick action connection to fit the tubing that is connected to a pressure gauge (vacuometer).

Soils container, including:

Transparent cylindrical tank for filling with sand. It includes two drain valves and a metallic filter to avoid sand transport to the water tank. Tank diameter: 200 mm, capacity: 10  l.

Transparent cover to prevent evaporative water loss during the practical exercises. It includes two quick action connections to fit the tubings that are connected to a pressure gauge (manometer) and an air inlet (pressure inlet).

Three soil sample retaining rings. They include a metallic filter to avoid sand transport to the water tank. Diameter of each one: 60 mm, capacity of each           one: 0.6  l.

Meters:

Pressure gauge (vacuometer), situated in the suction system, range: -1 – 0 bar.

Pressure gauge (manometer), situated in the cylindrical tank, range: 0 – 2.5 bar.

Four humidity meters situated in the soil sample retaining rings and in the soils container.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

- Dimensions: 400 x 500 x 1200 mm approx. (15.74 x 19.68 x 47.24 inches approx.). - Weight:  90 Kg approx. (198.41 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Understanding of the relationship between water retentivity and soil.

2.-  Understanding of the basic principles of water retentivity in terms of soil suction.

3.-  Study of the effect of the atmospheric pressure.

4.-  Determination of the retentivity of different soil samples.

Additional practical possibilities:

5.- Derivation of the soil moisture characteristic curves for several soils.

Optional

PAHS/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.