Tender Specifications

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Feeding tank of 1  l capacity.

Filtration unit, with porous bed filter, removable:

Height of the filter: 70 mm.

Test filter cell diameter: 44 mm.

The filter unit can be dismounted to change the sand.

A regulation valve controls the flow, which is observed on a flow meter.

Water flow meter, range: 0.07 - 0.55  l/min.

Differential manometer of 500 mm, to measure the head loss.

Corrosion-resistant materials are used.

The elements and tubing connections of this unit are transparent so that the operation can be observed and air bubbles avoided.

Accessories included with the unit:

Thermometer, with range from -10º C to 110º C.

Stopwatch.

1  l graduated test tube.

0.6  l glass beaker to collect filtrate.

Air pump for purging the manometer.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 600 x 400 x 800 mm approx. (23.62 x 15.74 x 31.49 inches approx.)   Weight: 25 Kg approx. (55.11 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Study of the filtration operation principles.

2.-  Study of Darcy equation.

3.-  Deep bed filtration of suspensions with different beds.

4.-  Calculation of Filterability Index.

5.-  Sand filter cleaning.

Optional

PEIF/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.