TENDER SPECIFICATIONS

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

20 l reactor vessel with a tubular membrane inside.

Lid for the reactor with a manual valve and the respective holes.

Heating or cooling coil.

Thermostatic bath (up to 60 ºC ), 6  l  capacity, 600 W.

Pump for hot water circulation of the thermostatic bath.

Air compressor, range: 0 – 5  l/min.

Diffusion plate for the air inlet.

Air flow meter, range: 0.4 – 5  l/min.

Peristaltic pump, range: 0 – 0.05  l/min.

Water flow meter, range: 0.004 – 0.05  l/min.

Membrane, muds separation.

Overflow for the outlet of filtered water.

Valve on the bottom for mud extraction.

Temperature, pH and dissolved oxygen meter to monitor the digestion.

Control panel, including:

Switch for pump for the hot water circulation.

Switch for peristaltic pump.

Switch for air compressor.

Main switch.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 800 x 600 x 700 mm approx. (31.50 x 23.62 x 27.56 inches approx.)  Weight: 55 Kg approx. (121 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Acclimation of biological samples.

2.-  Study of the temperature effect on the effluent quality.

3.-  Study of the detention time effect on the effluent quality.

4.-  Study of the aireation effect on the effluent quality.

5.-  Study of the pH effect on the effluent quality.

6.-  Study of the mass load effect on the effluent quality.

7.-  Study of the nutrients effect on the effluent quality.

8.-  Study of the recirculation effect on the effluent quality.

9.-  Establishing the stoichiometry of aerobic processes.

10.-Establishing the kinetics of aerobic processes.

11.-Gas/liquid mass transfer.

12.-Residence time distributions.

13.-Measurement of MLSS and COD changes as criteria of performance.

Optional

PDA/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.