Tender Specifications

This unit is formed by:

- MEMT-UB. Drive Unit for Tribological Tests.

Base Unit:

Bench-top unit.

Anodized aluminum frame and panels made of painted steel.

Diagram in the front panel with distribution of the elements similar to the real one.

The drive unit consists of:

DC motor, electronically controlled:

Speed range: 0 – 3000 rpm.

Operating speed: 0 – 250 rpm.

Torque: 19 Nm approx.

Worm gear: i=14.66.

Electronic Console:

Force sensor connection.

ON/OFF controller for the motor.

Motor speed controller.

Selector of the direction of rotation of the motor.

Digital display for the motor speed.

Digital display for the force sensor.

Dimensions: Base unit: 550 x 500 x 280 mm approx. (21.65 x 19.68 x 11.02 inches approx.)  Weight: 12 Kg approx. (26.45 pounds approx.)

Electronic Console: 300 x 190 x 130 mm approx. (11.81 x 7.48 x 5.11 inches approx.)  Weight: 3 Kg approx. (6.61 pounds approx.)

Experimental modules:

- MEMT-1. Radial Pressure Distribution in a Journal Bearing.

It requires the Base Unit with Electronic Console “MEMT-UB” for operation.

All elements of this module are mounted on a base plate to be mounted and connected to the Base Unit (MEMT-UB).

Anodized aluminum frame and panels made of painted steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Journal bearing:

Material: stainless steel.

Diameter: 50 mm.

Length: 50 mm approx.

Operating speed: 0 – 250 rpm.

Bearing housing:

Material: transparent methacrylate.

Diameter: 52.5 mm.

13 measuring points around the circumference of the bearing housing.

Movable bearing housing by means of micrometer screw.

Micrometer screw:

Adjustable bearing gap, range: 0 – 2.5 mm.

Graduations: 0.01 mm.

13 tube manometers to indicate the radial pressure distribution in the journal bearing:

Length: 1000 mm.

Lubricant vessel.

Thickness gauge to measure the width gap.

Dimensions: 350 x 150 x 500 mm approx. (13.77 x 5.90 x 19.68 inches approx.)  Weight: 9 Kg approx. (19.84 pounds approx.)

- MEMT-2. Dynamic Friction of a Cylinder on a Roller.

It requires the Base Unit with Electronic Console “MEMT-UB” for operation.

All elements of this module are mounted on a base plate to be mounted and connected to the Base Unit (MEMT-UB).

Anodized aluminum frame and panels made of painted steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Two levers:

Material: stainless Steel.

Load: 2.5 Kg max. approx.

Rotating friction disc:

Material: Tempered steel.

Diameter: 47 mm approx.

Adjustable operating speed, range: 0 – 0.5 m/s.

There is a lubricant vessel underneath the rotating disc to vary the lubrication conditions.

Friction pins:

Material:  Six steel cylindrical test pieces, six aluminum cylindrical test pieces and six brass cylindrical test pieces.

Diameter: 13 mm.

Length: 25 mm.

Force sensor to measure the friction forces on the levers joint, range: 0 – 50 Kg.

The pressure adjustment is performed using a two lever system and the set of weights.

Set of weights:

Material: Stainless steel.

2 x 1000 g.

1 x 500 g.

Chronometer.

Dimensions: 600 x 180 x 200 mm approx. (23.62 x 7.08 x 7.87 inches approx.)  Weight: 9 Kg approx. (19.84 pounds approx.)

- MEMT-3. Dynamic Friction of a Pin on a Disc.

It requires the Base Unit with Electronic Console “MEMT-UB” for operation.

All elements of this module are mounted on a base plate to be mounted and connected to the Base Unit (MEMT-UB).

Anodized aluminum frame and panels made of painted steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Rotating friction disc:

Material: Hardened and ground stainless steel.

Adjustable operating speed, range: 0 – 0.5 m/s.

The disc is enclosed in an open vessel that can be filled with different lubricants to vary the lubrication conditions.

Three friction pins:

Material: steel, aluminum and brass.

Diameter: 4 mm.

Force sensor to measure the friction forces in the bearing point of the loading mechanism. This force is measured by a force sensor, range: 0 – 50 N.

Set of weights:

Material: Stainless steel.

3 x 20 N.

2 x 10 N.

2 x 5 N.

It includes a weight holder.

The pressure adjustment is performed using a lever and the set of weights.

Dimensions: 400 x 450 x 230 mm approx. (15.74 x 17.71 x 9.05 inches approx.)  Weight: 8 Kg approx. (17.63 pounds approx.)

- MEMT-4. Rolling Friction in Wheels.

It requires the Base Unit with Electronic Console “MEMT-UB” for operation.

All elements of this module are mounted on a base plate to be mounted and connected to the Base Unit (MEMT-UB).

Anodized aluminum frame and panels made of painted steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Two rotating friction discs:

Material: aluminum/rubber.

Diameter: 55 mm approx.

Gearbox to maintain constant the slip between the rotating discs.

Vessel for supplying lubricant to vary the lubrication conditions.

Set of weights:

Material: stainless steel.

1 x 20 N.

1 x 10 N.

2 x 5 N.

It includes a weight holder.

The pressure adjustment is performed using a lever with a mechanical advantage of 2:1 and a set of weights. The contact pressure can be adjusted up to max. 90 N.

Force sensor to measure the friction forces, range: 0 – 50 N.

Dimensions: 500 x 280 x 150 mm approx. (19.68 x 11.02 x 5.90 inches approx.)  Weight: 11 Kg approx. (24.25 pounds approx.)

- MEMT-5. Elastohydrodynamic Lubrication.

It requires the Base Unit with Electronic Console “MEMT-UB” for operation.

All elements of this module are mounted on a base plate to be mounted and connected to the Base Unit (MEMT-UB).

Anodized aluminum frame and panels made of painted steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Rolling sphere:

Material: polished and hardened stainless steel.

Diameter: 26 mm approx.

Driven glass disc:

Diameter: 160 mm approx.

Coating: BK-7 dielectric.

Microscope:

Magnification: 50 X.

It can be adjusted using a movable support, adjustable in x-y and has a focus adjustment.

Force sensor, range: 0 – 50 N.

Dimensions: 350 x 250 x 600 mm approx. (13.78 x 9.84 x 23.62 inches approx.)  Weight: 12 Kg approx. (26.45 pounds approx.)

- MEMT-6. Friction Vibration.

It requires the Base Unit with Electronic Console “MEMT-UB” for operation.

All elements of this module are mounted on a base plate to be mounted and connected to the Base Unit (MEMT-UB).

Anodized aluminum frame and panels made of painted steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Friction ring:

Material: Stainless steel.

Outside diameter: 85 mm approx.

Inside diameter: 65 mm approx.

Adjustable operating speed, range: 0 – 0.8 m/s.

The disc is enclosed in an open vessel that can be filled with different lubricants.

Set of weights to load on the friction disc:

Material: Stainless steel.

4 x 10 N.

2 x 5 N.

Force sensor to measure the friction forces. This force is measured by a force sensor, range: 0 – 50N.

A cord is coupled to force measuring devices with the via a tension spring.

Dimensions: 400 x 100 x 190 mm approx. (15.74 x 3.93 x 7.48 inches approx.)  Weight: 8 Kg approx. (17.63 pounds approx.)

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

EXERCISES AND PRACTICAL POSSIBILITIES

Base Unit, along with the corresponding Experimental Modules, enables the following experiments:

- MEMT-1. Radial Pressure Distribution in a Journal Bearing.

1.-  Demonstration and visualization of the radial pressure distribution in a journal bearing with hydrodynamic lubrication.

2.-  Investigation of the pressure distribution in the journal bearing depending on the bearing gap width.

3.-  Investigation of the pressure distribution in the journal bearing depending on the speed.

4.-  Study of the stability limit as a function of the gap width.

- MEMT-2. Dynamic Friction of a Cylinder on a Roller.

5.-  Demonstration of friction forces between several pins of different materials and a rotating friction disc under different lubrication conditions.

6.-  Investigation of the friction forces for several pairs of friction materials.

7.-  Investigation of the friction forces for different speeds of the rotating disc.

8.-  Investigation of the friction forces with several loads.

9.-  Investigation of the friction forces for different lubrication conditions.

10.-Study of the wear coefficient for different friction parameters.

11.-Study of the wear and wear rate for different friction parameters.

- MEMT-3. Dynamic Friction of a Pin on a Disc.

12.-Study of the friction forces between several vertical pins of different materials and a rotating friction disc.

13.-Investigation of the friction forces for several pairs of friction materials.

14.-Investigation of the friction forces for several loads.

15.-Investigation of the friction forces with different lubricants.

16.-Investigation of the friction forces at different speeds of the rotating disc.

17.-Study of the wear for different friction parameters.

- MEMT-4. Rolling Friction in Wheels.

18.-Determination of the slip forces between two rotating discs in contact.

19.-Investigation of friction forces as a function of the load.

20.-Investigation of friction forces as a function of the operating speed.

21.-Investigation of friction forces as a function of the lubrication.

- MEMT-5. Elastohydrodynamic Lubrication.

22.-Study of the elastohydrodynamic behavior of a lubricant film between a rolling sphere and a disc.

23.-Determination of the lubricant film thickness at the point of contact between a sphere and a disc.

24.-Comparison of the experimental lubricant film thickness with theoretical values.

25.-Study of the influence of load on the lubricant film thickness.

26.-Study of the influence of speed on the lubricant film thickness.

- MEMT-6. Friction Vibration.

27.-Demonstration of the transition from static friction to sliding friction.

28.-Study of the influence of lubrication on stick-slip effects.

29.-Study of the influence of the force between the components on the stick-slip effects.

30.-Study of the influence of the relative speed of the components on the stick-slip effects.

Optional

MEMT/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.