Tender Specifications

Dead weight universal analogical hardness tester. It allows to combine three hardness tests: Brinell, Vickers and Rockwell.

Simple testing cycle through a lever.

Maximum test height: 180 mm.

Maximum depth (from the center): 200 mm.

Test loads.

Brinell: 31.25 – 62.5 – 187.5 Kg (306 – 613 – 1839 N).

Vickers: 30 – 100 Kg (294 – 588 – 980 N).

Rockwell: 60 – 100 – 150 Kg. (588 – 980 – 1471 N).

Hardness reading range:

Brinell: 4 – 450 HB.

Vickers: 14 – 1000 HV30.

Rockwell: 70 – 85 HRA, 20 – 67 HRC and 30 – 100 HRB.

Imprint measurement:

Brinell: imprint reading with microscope.

Vickers: imprint reading with microscope.

Rockwell: optical reading.

Gage block:

Brinell: 200 +/- 50 HB 2.5/187.5/30.

Vickers: 450 +/- 50 HV 30.

Rockwell: 55 – 65 HRC, 25 – 95 HRC and 75 – 95 HRB.

Type of indenter:

Brinell test: balls of 2.5 and 5 mm.

Vickers test: cone made of diamond 136°.

Rockwell test: cone made of diamond 120º and ball of 1/16" (1.588 mm).

Large testing platform. Medium-size testing platform. V-shaped testing platform. Sliding platform. V-shaped platform. Pyramidal platform.

Portable microscope for imprints reading:

Micrometric lens of 15 X.

Lenses (2.5 X) and (5 X).

6 Lamps for measurements.

Cables and accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Start-up, Safety, Maintenance and Practice Manuals.

Dimensions: Unit: 300 x 560 x 800 mm approx. (11.81 x 22.04 x 31.49 inches approx.).  Weight: 100 Kg approx. (220.46 pounds approx.)

2 Cases for elements: (each one): 380 x 330 x 150 mm approx. (14.96 x 12.99 x 5.9 inches approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Familiarization with the use of instrumentation to perform hardness tests.

2.- Study and familiarization with the Brinell, Vickers and Rockwell hardness testing unit.

3.- Brinell hardness measurement on different materials.

4.- Vickers hardness measurement on different materials.

5.- Rockwell hardness measurement on different materials.

6.- Observation of the behaviour of diverse materials under different loads.

7.- Knowledge of the types of standard test pieces for these types of tests.

8.- Knowledge of the types of standard indenters for these types of tests.

Optional

EBVR/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.