TENDER SPECIFICATIONS

1  SPC. Unit:

Digital force meter:

Measurement range: 5 Kg. / 176.40 oz /49.03 N.

Resolution: 1 gr. / 0.05 oz / 0.01N.

Minimum indicator: 3 gr. / 0.10 oz / 0.03N.

Accuracy: ±0.4% of the reading + 1 digit.

Operating temperature: 0 – 50ºC.

Operating humidity: less than 80% of relative humidity.

Traction and pressure measurement possibilities.

LCD screen of 10 mm.

The maximum value can be stored during the measurement.

Accessories:

Flat head adaptor.

Hook adaptor.

Conical adaptor.

Chisel adaptor.

Elongating rod (120 mm.).

USB cable to connect to the computer for the data acquisition.

6 Batteries of 1.5 V.

Storage case, with packing foam, for the meter, accessories and software.

2  Data Acquisition and Data Management Software:

Compatible with actual Windows operating systems.

Graphic and intuitive simulation of the process in screen.

Compatible with the industry standards.

Flexible and open software, developed with actual windows graphic systems.

Management, processing, comparison and storage of data.

Graphic representation in real time.

Comparative analysis of the obtained data.

3  Cables and Accessories, for normal operation.

4  Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Software, Starting-up, Safety, Maintenance & Practices Manuals.

* References 1 to 4: SPC Unit + Data Acquisition and Data Management Software + Cables and Accessories + Manuals are included in the minimum supply for enabling normal and full operation.

Dimensions: 350 x 300 x 170 mm. approx. (13.78 x 11.81 x 6.69 inches approx.).     Weight: 10 Kg. approx. (22 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-	Weight high precission measurement.

2.-	Compression forces high precission measurement.