This unit is common for the different test modules type “BS”, and can work with one or several modules.

The BSUB is a complete unit designed to provide signal conditioning for many sensors and transducers output signals that must be conditioned. These circuits consist of differential and instrumentation amplifiers, filters, current to voltage and frequency to voltage converters, etc., developed for transducers such as potentiometers, RTD's, thermocouples, strain gauge bridges, etc.

The BSUB also includes a PID controller, industrial controller, DC Dimer and other interesting elements that can be used to introduce students the concepts about process control.

The sensors connect to the Base Unit and with power supplies through 2 mm terminals located in the front panel of each test module. The test modules may operate independently one of another.

TENDER SPECIFICATIONS

This unit is common for the different test modules type “BS”, and can work with one or several modules.

All elements are included in a metallic box.

Signal Conditioning Circuits:

- Amplifiers:

DC amplifiers:

- 3 Amplifiers.

- Input range: +/-12 Vdc.

- Input Impedance: 100 KΩ.

- Adjustable gain: 1, 10,100 for the “Amplifier 1“ and “Amplifier 2“.

- Fixed gain: 100 for “x100 Amp”.

AC Amplifier:

- Input range: 12 Vac.

- Adjustable gain: 10, 100, 1000.

- Bandwidth: 10 - 16000Hz.

Power Amplifier:

- Input range: 12 V max.

- Output current: 1.5 A max.

- Output power: 9W max.

Current Amplifier:

- Gain: 10,000.

- Output current: 1A max.

Buffers:

- 2 Buffers.

- Input voltage: 12V max.

- Input impedance: 100 KΩ.

Inverting Amplifier:

- Input voltage: 12V max.

- Input impedance: 100 KΩ.

- Gain: -1.

Differential Amplifier:

- Input voltage: 12V max.

- Inputs impedance: 100 KΩ (Input A) and 200 KΩ (Input B).

- Ad (Differential gain): 1.0.

- Ac (Common mode gain): 0.02 max.

Instrumentation Amplifier:

- Input voltage: 12V max.

- Inputs impedance: 100 KΩ.

- Ad (Differential gain): 1.0.

- Ac (Common mode gain): 0.006 max.

Summing Amplifier:

- Input voltage: 12V max.

- 3 Inputs.

- Gain: 1.

- Comparators:

Schmitt trigger.

- Filters:

40kHz filter: Pass-Band Filter at 40kHz.

Low-pass filter: Selectable cut-off frequencies at 15Hz, 1.44Hz, 0.14Hz.

- Integrator:

Selectable Time constants: 100ms, 1s, 10s.

- Differentiator:

Selectable Time constants: 10ms,100ms, 1s.

- “Sample/Hold”:

Time constant: 1ms.

- Converters Circuits:

Voltage to Current (V/I) converter:

- Output current: ±20mA max.

- Transfer ratio: 10mA/V.

Current to Voltage (I/V) converter:

- Output voltage: ±2 V (6 V max.).

- Transfer ratio: 0.1V/mA.

Frequency to Voltage (F/V) converter:

- Transfer ratio: 1 V/kHz.

- Maximum input frequency: 10 kHz.

- No linearity: 0.024%.

Voltage to Frequency (V/F) converter:

- Transfer ratio: 1 kHz/V.

- Maximum input frequency: 10 kHz.

- No linearity: 0.024%.

- Other circuits:

Full-Wave Rectifier.

40kHz Oscillator:

- Output frequency: 41093 Hz.

- Output amplitude: 5 Vpp.

Alarm Oscillator:

- Oscillator frequency: 700Hz.

- Switch turn off voltage: 2.3V.

Electronic Switch:

- Input voltage: 12 V max.

- Switch voltage: 2.1V.

- Output current: 500mA max.

Control Circuits:

- PID:

Process control applications.

Independent PID parameters adjustment (Proportional, Integrative and Derivative).

- Industrial Controller:

Input: DC voltage, RTD sensor or Thermocouple.

Output 1: Relay.

Alarm output: Relay.

- Relay:

Double relay.

NO and NC terminal.

12Vdc coil excitation.

- DC Dimmer:

Light dimmer or DC motor speed controller applications.

PWM generator.

Frequency and duty cycle adjustable.

Power Elements:

- Power Supply:

AC voltage range: 0 to 30 Vac.

DC voltage range: 0 to +15 Vdc.

Output current: 4A max.

- DC Source:

2 Output for each voltage.

DC voltages:+5 Vdc,-5 Vdc,+12 Vdc,-12 Vdc,0 to 12 Var.

Output current: 500mA max.

- Wave Generator:

Sine, square, triangular and sawtooth waveforms.

Frequency range: 100 to 10000 Hz.

Amplitude range: Adjustable +/- 10V.

- Potentiometers:

4 Potentiometers.

Impedance values: 0-1 KΩ, 0-5 KΩ, 0-10 KΩ and 0-20 KΩ.

Power dissipation: 1 W max.

Measuring Elements:

- L.E.D. bargraph display:

Input range: 0-5V.

- Counter/Timer:

Temporization applications.

Counting applications.

- Moving coil meter.

Cables and Accessories, for normal operation.

Manuals:		It is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 490 x 450 x 470 mm. approx. (19.29 x 17.72 x 18.50 inches approx.). Weight: 30 Kg approx. (66 pounds approx.).