Tender Specifications

CEAB interface-box:

Modbus to Profibus Gateway.

Configurable through the software included with the unit.

Modbus RTU to Profibus DP bidirectional converter.

Allows to map the I/O data to perform the protocol conversion.

Memory: 8 MB SDRAM and 4 MB serial Flash.

Industrial Controller:

ABB Control Master CM30.

Display:

Full-color LCD 9 cm (3.5in.) with built-in backlight.

Language:

English, German, French, Italian and Spanish.

Operator keypad:

6 tactile membrane keys.

Password protection:

Basic / Advanced user-assigned password protection.

Trend display:

Recording of 2 variables.

Configurable sample rate (1 second to 5 minutes).

Control output types:

Current proportioning / Voltage proportioning (through resistor).

Time proportioning.

On / Off  relays.

Motorized valve with feedback.

Motorized valve without feedback.

O/P split output: digital relay and current.

Control parameters:

Proportional band: 0 to 999.9 %.

Integral: 0 to 10000 s.

Derivative: 0 to 999.9 s.

Manual Reset: 0.0 to 100 %.

3 sets of PID parameters when used with Gain Scheduling facility.

Set points:

Up to 4 local set points, all selectable via digital inputs or front panel.

Remote selectable via digital input.

Auto tune:

On-demand calculation of control settings.

Process alarms:

Number: 8.

Types: High / Low process and High / Low latch.

Acknowledgement: via front panel keys or digital signals.

Source: Fully configurable (for example, PV, analog input, math block inbuilt, O/P control loop deviation).

Hysteresis: Level and time.

Alarm enable: Enable / Disable of individual alarms via a digital signal.

Analog inputs:

Number: 2.

Sample rate: 125 ms.

Type: Voltage (pre-configured), Current, Resistance (ohms), 3-Wire RTD, Thermocouple, Digital volt-free,     Digital 24V, Frequency (Input 1) and pulse.

Analog outputs:

Number: 1.

Type: Configurable as analog or digital pulse.

Analog range: 0 to 10 V through a resistor.

Relays:

Number: 2.

Type: N/O.

Contact ratings: 5A, 240V.

Profibus DP connector.

Digital and analog input and output module:

4 digital input:

Voltage levels: 0 and 24Vdc.

4 digital output:

Voltage levels: 0 and 24Vdc.

4 analog input:

Voltage range from -10V to +10V.

4 analog outputs:

Voltage range from -10V to +10V.

Profibus DP connector.

Profibus DP Interface Card:

For communication interface with PCI Express and Profibus DP protocol.

PCI Express interface.

Communication standard: Profibus DP.

Interface type: RS-485.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx).  Weight: 10 Kg approx. (22 pounds approx).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Study of the transfer function.

2.-  Familiarize with the Set Point Generator; generation of a square signal using two analog signals.

3.-  Familiarization with the operation with an industrial controller (operator page screen, trend display screen, etc).

4.-  Operation and function of a digital industrial controller.

5.-  Setting alarms and diagnosis generation.

6.-  Familiarization with the Fieldbuses and the stations connected.

7.-  Familiarization with the device master file “DMF”.

8.-  Network layout of the Profibus DP Fieldbus.

9.-  Communication protocols.

10.-Installation, connection and familiarization with the software.

11.-Configuration of the Profibus DP network.

12.-Input/output mapping of the Industrial Controller and the digital and analog input and output device.

13.-Communication parameters configuration and reading the Profibus DP variables.

14.-OPC server configuration and creation of tags with an OPC client.

15.-Reading and writing the signal of the Digital and Analog Input and Output Profibus DP module with the OPC server.

16.-Setting the PID control parameters of an industrial controller with the front panel of the device.

17.-Setting the PID control parameters of an industrial controller with the OPC server.

Optional

CEAB/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (INS/SOF) totally integrated with the Student Software (CEAB/SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.