TENDER SPECIFICATIONS

The AE-PLC-AB-UB, ALLEN BRADLEY PLC Base Unit includes:

• N-ALI02. Domestic Power Supply.

Supply voltage (Single-Phase): 230 VAC, PH+N+G.

ON-OFF removable key.

Output Voltage Connections:

Two Single-Phase: 230 VAC.

Single-Phase supply wire connecting plug.

Differential magnetothermal, 2 poles, 25A, 30mA AC 6KA.

• N-CPU-AB. Allen Bradley CPU Module.

Supply voltage (Single-Phase): 100-240Vac PH + N + G.

Overcurrent protection with fuse.

PLC device Allen Bradley CompactLogix 5370 L1 Controller:

High speed and high performance control.

Controller tasks: 32.

Program per task: 1000.

Available user memory: 384 Kb.

SD Card Inbox memory: 1 GB.

2 Ethernet connectors with a communication rate of 10/100 Mbps

USB connection for firmware updates.

Digital inputs: 16 inputs of 24Vdc.

Digital outputs: 16 outputs of 24Vdc.

Connector for the digital input and output signals.

Connector to the Ethernet switch module (N-SWT-4 or N-SWT-8).

• PLC Programming Software.

Programming software developed according to the norm IEC 61131-3.

Easy to configure device with a graphic wizard.

Easy programming with drag and drop editing with a complete library of preconfigured function boxes.

Diagnostics and troubleshooting tools.

Automatic creation of tags.

Four programming languages:

Ladder diagrams (LD), Structured text (ST), Sequential function chart (SFC) and Function block diagram (FBD).

PLC programming through Ethernet or USB.

There are available the following optionals Kits to work with the AE-PLC-AB-UB:

The PLC-AB-K1, ALLEN BRADLEY PLC Kit 1 (Optional) includes:

• N-MT. Test module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

20 Digital Signal Generators:

10 Switches.

10 Push buttons.

Every output has attached a green LED.

Output voltage levels of 0Vdc and 24Vdc.

6 Analog Signal Generators:

6 Potentiometers.

Output voltage range from -10V to +10V.

Single-Phase supply hose connecting plug.

Differential magneto-thermal, 2 poles, 25A, 30mA AC 6KA.

The PLC-AB-K2, ALLEN BRADLEY PLC Kit 2 (Optional) includes:

• N-ESA-AB. Allen Bradley Analog I/O Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

Expansion unit for analog inputs:

Input voltage range from 0V to +10V.

4 analog inputs.

Resolution of 16 bits.

Input conversion Sigma-Delta.

Expansion unit for analog outputs:

Output voltage range from 0V to +10V.

4 analog outputs.

Resolution of 16 bits.

Accuracy: 0.1% Full scale.

Connector for the analog input and output signals.

Connector to the Ethernet switch module (N-SWT-4 or N-SWT-8).

• N-SWT-4. 4 Ports Ethernet Switch Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

Compact switch module:

4 Ethernet ports.

Work as Ethernet interconnection point.

The PLC-AB-K3, ALLEN BRADLEY PLC Kit 3 (Optional) includes:

• N-HMIB-AB. Allen Bradley Basic HMI Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

HMI device:

Touch screen.

High resolution display supporting 65K colors.

800MHz CPU processor with 256MB memory.

Display size: 95 x 53.9 mm (4 inches).

Screen resolution of 480 (W) x 272 (H) dots.

Backlight: White LED.

MicroSD card slot.

Connector to the Ethernet switch module (N-SWT-4 or N-SWT-8).

• N-SWT-4. 4 Ports Ethernet Switch Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

Compact switch module:

4 Ethernet ports.

Work as Ethernet interconnection point.

• HMI Programming software:

Tool to create screens:

This software is a tool created to program the touchscreen. Thanks to this tool, appropriate screens and images can be designed and created. Enables the transfer of the program to the touchscreen, uploading objects created from the terminal and print screens created.

Easy operation (drag and drop):

A library of elements allows for programming with the mouse by just selecting and moving elements to the desired locations (drag and drop).

Lots of functions. Creation of screens:

Text, diagram or data display devices, buttons for drawings, charts and pilot lights.

Creation of functional screens adaptable to each application.

Drawing functions: creation of different programming elements through icons and bitmaps.

Easy user libraries creation:

The software include a large libraries with the common functions available to use in the programs.

New libraries can be registered and stored to be used in later projects.

The PLC-AB-K4, ALLEN BRADLEY PLC Kit 4 (Optional) includes:

• N-HMIA-AB. Allen Bradley Advanced HMI Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

HMI device:

Touch screen.

High resolution display supporting 65K colors.

800MHz CPU processor with 256MB memory.

Display size: 153.6 x 86.6 mm (7 inches).

Screen resolution of 800 (W) x 480 (H) dots.

Backlight: White LED.

MicroSD card slot.

Connector to the Ethernet switch module (N-SWT-4 or N-SWT-8).

• N-SWT-4. 4 Ports Ethernet Switch Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

Compact switch module:

4 Ethernet ports.

Work as Ethernet interconnection point.

• HMI Programming software:

Tool to create screens:

This software is a tool created to program the touchscreen. Thanks to this tool, appropriate screens and images can be designed and created. Enables the transfer of the program to the touchscreen, uploading objects created from the terminal and print screens created.

Easy operation (drag and drop):

A library of elements allows for programming with the mouse by just selecting and moving elements to the desired locations (drag and drop).

Lots of functions. Creation of screens:

Text, diagram or data display devices, buttons for drawings, charts and pilot lights.

Creation of functional screens adaptable to each application.

Drawing functions: creation of different programming elements through icons and bitmaps.

Easy user libraries creation:

The software include a large libraries with the common functions available to use in the programs.

New libraries can be registered and stored to be used in later projects.

The PLC-AB-K5, ALLEN BRADLEY PLC Kit 5 (Optional) includes:

• N-MOD. Modem Communication Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

Internet router with RJ-11 socket to connect the phone line.

• N-SWT-8. 8 Ports Ethernet Switch Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

Compact switch module:

8 Ethernet ports.

Work as Ethernet interconnection point.

• N-WS-AB. Allen Bradley Web server Module.

HMI device with Web Server:

Touch screen.

High resolution TFT display with 18 bits colors.

512MB of memory.

Display size: 132 x 99 mm (6,5 inches).

Screeen resolution of 640 (W) x 480 (H) dots.

White LED backlight with 300 cd/m2.

SD card slot.

It allow to remote access to the device from a standard web browser (smartphone, tablet or computer).

It allow to read and write variables of the device from a standard web browser (smartphone, tablet or  computer).

Connector to the Ethernet switch module (N-SWT-4 or N-SWT-8).

• Web Server programming software:

Allow to create a custom web page for your application.

Through the web page, it can be read and write all the variables of the PLC attached.

The created screens of the HMI device can be visualized through a standard web browser (smartphone, tablet or computer).

Cables and Accessories, for normal operation.

Manuals:

This unit is supplied with 7 manuals: Required Services, Assembly and Installation, Control Software, Starting-up, Safety, Maintenance & Practices Manuals.

- Dimensions: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx.) - Weight: 6 Kg approx. (13 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Using variables.

2.- Using digital inputs I.

3.- Using digital inputs II.

4.- Testing digital inputs (PLC-AB-K1).

5.- Using digital outputs.

6.- Testing digital outputs.

7.- Using analog signals I (PLC-AB-K1 and PLC-AB-K2).

8.- Using analog signals II (PLC-AB-K1 and PLC-AB-K2).

9.- Square wave generator.

10.- HMI simple program (PLC-AB-K3 or PLC-AB-K4).

11.- Using digital outputs with HMI device I (PLC-AB-K3 or PLC-AB-K4).

12.- Using digital outputs with HMI device II (PLC-AB-K3 or PLC-AB-K4).

13.- Reading data from a register with the HMI device (PLC-AB-K3 or PLC-AB-K4).

14.- Writing data to a register with the HMI device (PLC-AB-K3 or PLC-AB-K4).

15.- Switching screens of the HMI device (PLC-AB-K3 or PLC-AB-K4).

16.- Internet connection of the PLC unit (PLC-AB-K5).

17.- Control digital inputs with a web server application (PLC-AB-K5).

18.- Control digital outputs with a web server application (PLC-AB-K5).

19.- Control analog inputs with a web server application (PLC-AB-K5).

20.- Control analog outputs with a web server application (PLC-AB-K5).

Optional

AE-PLC-AB/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (INS/SOF) totally integrated with the Student Software (AE-PLC-AB/SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.