TENDER SPECIFICATIONS

The AE-PLC-MIT-UB, MITSUBISHI PLC Base Unit includes:

• N-ALI02. Domestic Power Supply.

Supply voltage (Single-Phase): 230 VAC, PH+N+G.

ON-OFF removable key.

Output Voltage Connections:

Two Single-Phase: 230 VAC.

Single-Phase supply wire connecting plug.

Differential magnetothermal, 2 poles, 25A, 30mA AC 6KA.

• N-CPU-MIT. Mitsubishi CPU Module.

Supply voltage (Single-Phase): 100-240Vac PH + N + G.

Overcurrent protection with fuse.

PLC device Mitsubishi FX3G:

Program memory:

32,000 steps EEPROM (internal).

Exchangeable EEPROM memory cassete.

Instruction time:

Up to 0.21us per instruction.

Ethernet connectors with a communication rate of 10/100 Mbps

Digital inputs: 24 inputs of 24Vdc.

Digital outputs: 16 outputs of 24Vdc.

Analog input: 2 with a range of 0 to 10V

Analog output: 1 with a range of 0 to 10V

Connector for the digital input and output signals.

Connector to the Ethernet switch module (N-SWT-4 or N-SWT-8).

• PLC Programming Software.

Easy programming with drag and drop editing with a complete library of preconfigured function boxes.

Easy backup and restore the projects.

Multiple programs can be handled: The PLC program can be created with multiple program part.

Fully utilize the wide and easy-to-read screen.

Three programming languages:

Ladder diagrams (LD), Instruction list and Sequential function chart (SFC).

PLC programming through Ethernet or USB.

There are available the following optionals Kits to work with the AE-PLC-MIT-UB:

The PLC-MIT-K1, MITSUBISHI  PLC Kit 1 (Optional) includes:

• N-MT. Test module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

20 Digital Signal Generators:

10 Switches.

10 Push buttons.

Every output has attached a green LED.

Output voltage levels of 0Vdc and 24Vdc.

6 Analog Signal Generators:

6 Potentiometers.

Output voltage range from -10V to +10V.

Single-Phase supply wire connecting plug.

Differential magneto-thermal, 2 poles, 25A, 30mA AC 6KA.

The PLC-MIT-K2, MITSUBISHI PLC Kit 2 (Optional) includes:

• N-ESA-MIT. Mitsubishi Analog I/O Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

Expansion unit for analog inputs:

Input voltage range from -10V to +10V.

4 analog inputs.

Resolution of 12 bits.

Expansion unit for analog outputs:

Output voltage range from -10V to +10V.

4 analog outputs.

Resolution of 12 bits.

Connector for the analog input and output signals.

Connector to the Ethernet switch module (N-SWT-4 or N-SWT-8).

• N-SWT-4. 4 Ports Ethernet Switch Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

Compact switch module:

4 Ethernet ports.

Work as Ethernet interconnection point.

The PLC-MIT-K3, MITSUBISHI PLC Kit 3 (Optional) includes:

• N-HMIB-MIT. Mitsubishi Small HMI Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

HMI device:

Touch screen.

TFT Monochrome LCD.

Memory for storage: 3 MB.

Display size: 89 x 35.6 mm (3.8 inches).

Screen resolution of 320 (W) x 128 (H) dots.

5 Backlight LED colors: white, green, pink, orange and red).

SDHC card slot up to 32 GB.

Connector to the Ethernet switch module (N-SWT-4 or N-SWT-8).

• N-SWT-4. 4 Ports Ethernet Switch Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

Compact switch module:

4 Ethernet ports.

Work as Ethernet interconnection point.

• HMI Programming software:

Reusable projects to a more efficient programming.

Reusable previous screens through a browser, and added to the new project through drag and place action.

Data browser shows a list of objects used in the current project, and allow to edit each object directly from the list.

Configuring the HMI communication through an easy drag and place method.

The software allows to create labels instead of using device, to configure a more understandable program.

The PLC-MIT-K4, MITSUBISHI PLC Kit 4 (Optional) includes:

• N-HMIA-MIT. Mitsubishi Large HMI Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

HMI device:

Touch screen.

TFT with 65536 colors.

Memory for storage: 9 MB.

Display size: 154 x 85.9 mm (7 inches).

Screen resolution of 800 (W) x 480 (H) dots.

5 Backlight LED colors: white, green, pink, orange and red).

SDHC card slot up to 32 GB.

Connector to the Ethernet switch module (N-SWT-4 or N-SWT-8).

• N-SWT-4. 4 Ports Ethernet Switch Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

Compact switch module:

4 Ethernet ports.

Work as Ethernet interconnection point.

• HMI Programming software:

Reusable projects to a more efficient programming.

Reusable previous screens through a browser, and added to the new project trough drag and place action.

Data browser shows a list of objects used in the current project, and allow to edit each object directly from the list.

Configuring the HMI communication through an easy drag and place method.

The software allows to create labels instead of using device, to configure a more understandable program.

• N-SWT-8. 8 Ports Ethernet Switch Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

Compact switch module:

8 Ethernet ports.

Work as Ethernet interconnection point.

Cables and Accessories, for normal operation.

Manuals:

This unit is supplied with 7 manuals: Required Services, Assembly and Installation, Control Software, Starting-up, Safety, Maintenance & Practices Manuals.

- Dimensions: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx.) - Weight: 6 Kg. approx.(13 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Using variables.

2.- Using digital inputs I.

3.- Using digital inputs II.

4.- Testing digital inputs (PLC-MIT-K1).

5.- Using digital outputs.

6.- Testing digital outputs.

7.- Using analog signals I (PLC-MIT-K1 and PLC-MIT-K2).

8.- Using analog signals II (PLC-MIT-K1 and PLC-MIT-K2).

9.-  Square wave generator.

10.- HMI simple program (PLC-MIT-K3 or PLC-MIT-K4).

11.- Using digital outputs with HMI device I (PLC-MIT-K3 or PLC-MIT-K4).

12.-  Using digital outputs with HMI device II (PLC-MIT-K3 or PLC-MIT-K4).

13.-  Reading data from a register with the HMI device (PLC-MIT-K3 or PLC-MIT-K4).

14.-  Writing data to a register with the HMI device (PLC-MIT-K3 or PLC-MIT-K4).

15.-  Switching screens of the HMI device (PLC-MIT-K3 or PLC-MIT-K4).

Optional

AE-PLC-MIT/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (INS/SOF) totally integrated with the Student Software (AE-PLC-MIT/SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.