TENDER SPECIFICATIONS

The AE-PLC-OMR-UB, OMRON PLC Base Unit includes:

• N-ALI02. Domestic Power Supply.

Supply voltage (Single-Phase): 230 VAC, PH+N+G.

ON-OFF removable key.

Output Voltage Connections:

Two Single-Phase: 230 VAC.

Single-Phase supply wire connecting plug.

Differential magnetothermal, 2 poles, 25A, 30mA AC 6KA.

• N-CPU-OMR. OMRON CPU Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

Overcurrent protection with fuse.

PLC device, OMRON CP1L:

High processing speed: 0.55us per basic instruction (step) and 4.1 us per special instruction.

Programming capacity: 10k basic instructions (step).

4096 timers and 4096 counters.

High-speed counters: 100kHz.

18 digital inputs with allowable input range from 0V to 24V.

12 relay type digital outputs with voltage level of 24Vdc.

Connector for the digital input and output signals.

Connector to the N-ESA-OMR.

• PLC Programming Software.

Programming software developed according to the norm IEC 61131-3.

Compatible with Windows operating systems.

Four programming languages:

Ladder diagrams (LD) and Structured text (ST) Sequential function chart (SFC) and Function block diagram (FBD).

Easy connection to OMRON PLCs.

Synchronous operation between units.

Comprehensive Programming Environment.

Integrated simulation for greater design and debugging efficiency.

Saves project files in the PLC.

Examples and quick tutorial included.

There are available the following optionals Kits to work with the AE-PLC-OMR-UB:

The PLC-OMR-K1, OMRON PLC Kit 1 (Optional) includes:

• N-MT. Test module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

20 Digital Signal Generators:

10 Switches.

10 Push buttons.

Every output has attached a green LED.

Output voltage levels of 0Vdc and 24Vdc.

6 Analog Signal Generators:

6 Potentiometers.

Output voltage range from -10V to +10V.

Single-Phase supply hose connecting plug.

Differential magneto-thermal, 2 poles, 25A, 30mA AC 6KA.

The PLC-OMR-K2, OMRON PLC Kit 2 (Optional) includes:

• N-ESA-OMR. OMRON Analog I/O Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

Expansion unit for analog inputs:

Input voltage range from -10V to +10V.

4 analog inputs.

Resolution of 12 bits.

Expansion unit for analog outputs:

Output voltage range from -10V to +10V.

4 analog outputs.

Resolution of 12 bits.

Connector for the analog input and output signals.

Connector to the Ethernet switch module (N-SWT-4 or N-SWT-8).

The PLC-OMR-K3, OMRON PLC Kit 3 (Optional) includes:

• N-HMIB-OMR. OMRON Small HMI Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

HMI device:

Touch screen.

TFT color display of 65536 colors.

Panel size: 129.8 x 103.8 mm (3.5 inches).

Screen resolution of 320 (W) x 240 (H) dots.

Backlight: LED.

Connector to the Ethernet switch module (N-SWT-4 or N-SWT-8).

• N-SWT-4. 4 Ports Ethernet Switch Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

Compact switch module:

4 Ethernet ports.

Work as Ethernet interconnection point.

• HMI Programming software.

Easy communication with the HMI devices.

Easy communication configuration between the HMI and PLC.

The software allows to import image from the PC.

Tool to create screens:

This software is a tool created to program the touchscreen. Thanks to this tool, appropriate screens and images can be designed and created. Enables the transfer of the program to the touchscreen, uploading objects created from the terminal and print screens created.

Lots of functions. Creation of screens:

Includes many programming tools.

Text, diagram or data display devices, buttons for drawings, charts and pilot lights.

Creation of functional screens adaptable to each application.

Drawing functions: creation of different programming elements through icons and bitmaps.

Large library with pushbuttons, switches, indicators, bar graphs, etc.

Easy operation (drag and drop):

A library of elements allows for programming with the mouse by just selecting and moving elements to the desired locations (drag and drop).

Easy user libraries creation:

Libraries can be registered and stored to be used in later projects.

Printing. The project screens can be printed:

Screens can be printed after previewing, selecting and configuring them.

The PLC-OMR-K4, OMRON PLC Kit 4 (Optional) includes:

• N-HMIA-OMR. OMRON Large HMI Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

HMI device:

Touchscreen.

TFT color display of 65536 colors.

Size of the display: 202x148mm (7 inches).

Resolution: 800x480.

Backlight: LED.

Connector to the Ethernet switch module (N-SWT-4 or N-SWT-8).

• N-SWT-4. 4 Ports Ethernet Switch Module.

Supply voltage (Single-Phase): 100-240Vac PH+N+G.

Compact switch module:

4 Ethernet ports.

Work as Ethernet interconnection point.

• HMI Programming software.

Easy communication with the HMI devices.

Easy communication configuration between the HMI and PLC.

The software allows to import image from the PC.

Tool to create screens:

This software is a tool created to program the touchscreen. Thanks to this tool, appropriate screens and images can be designed and created. Enables the transfer of the program to the touchscreen, uploading objects created from the terminal and print screens created.

Lots of functions. Creation of screens:

Includes many programming tools.

Text, diagram or data display devices, buttons for drawings, charts and pilot lights.

Creation of functional screens adaptable to each application.

Drawing functions: creation of different programming elements through icons and bitmaps.

Large library with pushbuttons, switches, indicators, bar graphs, etc.

Easy operation (drag and drop):

A library of elements allows for programming with the mouse by just selecting and moving elements to the desired locations (drag and drop).

Easy user libraries creation:

Libraries can be registered and stored to be used in later projects.

Printing. The project screens can be printed:

Screens can be printed after previewing, selecting and configuring them.

Cables and Accessories, for normal operation.

Manuals:

This unit is supplied with 7 manuals: Required Services, Assembly and Installation, Control Software, Starting-up, Safety, Maintenance & Practices Manuals.

-Dimensions: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx.) -Weight: 6 Kg approx. (13 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Using variables.

2.-  Using digital inputs I.

3.-  Using digital inputs II.

4.-  Testing digital inputs (PLC-OMR-K1).

5.-  Using digital outputs.

6.-  Testing digital outputs.

7.-  Using analog signals I (PLC-OMR-K1 and PLC-OMR-K2).

8.-  Using analog signals II (PLC-OMR-K1 and PLC-OMR-K2).

9.-  Square wave generator.

10.-HMI simple program (PLC-OMR-K3 or PLC-OMR-K4).

11.-Using digital outputs with HMI device I (PLC-OMR-K3 or PLC-OMR-K4).

12.-Using digital outputs with HMI device II (PLC-OMR-K3 or PLC-OMR-K4).

13.-Reading data from a register with the HMI device (PLC-OMR-K3 or PLC-OMR-K4).

14.-Writing data to a register with the HMI device (PLC-OMR-K3 or PLC-OMR-K4).

15.-Switching screens of the HMI device (PLC-OMR-K3 or PLC-OMR-K4).

Optional

AE-PLC-OMR/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (INS/SOF) totally integrated with the Student Software (AE-PLC-OMR/SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.