Tender Specifications

- FACO. Power Supply:

Fixed outputs DC: + 5 V, ± 12 V, 1 A.

Variable outputs DC: ± 12 V, 0.5 A.

AC output: 12 V or 24 V.

Connection to the PLC-BS modules through 25 pin Sub-D connectors.

LED’s voltage indicators.

Robust construction.

- BS9. Pneumatic Test Module:

Painted steel box. Connection diagrams for each transducer are represented graphically.

Proportional valves (1 and 2):

Nominal voltage: 24 Vdc. Pressure range: 8 bar maximum, 0 – 6 bar control. Linearity: 1 % full scale.

Differential pressure sensor: Measurement range: 0 – 30 psi. Sensitivity: 3.33 mV/psi. Power-supply range: 10 – 16 Vdc.

Pneumatic switch: Activation: 20 – 24Vdc. Positions: 2. Maximum pressure: 6 bars.

LVDT Sensor: Power-supply voltage: 9 – 24 Vdc. Sensitivity: 60 mV/mm/10 Vdc.

Regulation filter: Manual drainage. Maximum input pressure: 8 bars. Flux: 14.5 dm³/s.

Air compressor:

Air flow: 10  l/min. Pressure: 1.83 Kg/cm².

Feedback sensor for PLC control:

Signal conditioning circuit of the position sensor.

Voltage output range: 0 – 10 Vdc.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manual.

Each module may operate independently of one another.

Dimensions: 405 x 300 x 350 mm approx. (15.94 x 11.81 x 13.78 inches approx.)  Weight: 7 Kg approx. (15.43 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Proportional valves. To control electronically the vertical displacement of a double effect pneumatic piston using proportional valves.

2.-  Differential pressure sensor. To use a pressure sensor for measuring the pressure difference between both pneumatic piston air inlets.

3.-  Pneumatic switch. To deflect the air flow using a pneumatic switch.

4.-  LVDT Linear Displacement Sensor. To measure pneumatic piston displacement using an excitation and DC output LVDT.

5.-  Using the analogs input and outputs of the PLC to read and write analog signals.

6.-  Read the position sensor signal with the PLC.

7.-  Manual control of the actuator through the PLC.

8.-  PID control of the cylinder position through the PLC.

9.-  Observe the effects of the position control to changes in the PID parameters.

Optional

PLC-BS9/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.