Tender Specifications

Tanks:

4 transparent tanks.

1.5 l of capacity each one approx.

Control panel:

Mushroom head emergency stop push button switch.

Start and Stop pushbuttons.

Switch for manual or automatic operation.

Light indicator.

Led stack light.

Terminal block to connect the individually identified inputs and outputs of the unit.

Electrical components:

3 PID industrial controllers:

Sample speed: 250 S/s.

USB connector to PC for configuration and data logging.

Software for the configuration and data logging.

2 Peltier cells to temperature control.

Hydraulic pump with maximum flow rate of 8 l/min.

Helix agitator with range from 0 to 300 rpm.

8 solenoid valves.

Proportional electrovalve:

Nominal voltage: 24Vdc.

Pressure control range: 0 to 6 bar.

Linearity: 1% full scale.

Pneumatic circuit:

Air treatment unit:

Filter-regulator and water trap.

Manometer with double scale indicator.

Shut-off valve.

Pneumatic monostable 3/2 solenoid valves.

Sensors:

Thermocouple type J.

Capacitive level sensor from 0 to 300 mm.

Pressure sensor with range from 0 to 1 bar.

Turbine type flow rate sensor with range from 0.25 to 6.5 l/min.

6 Capacitive sensors to control the maximum and minimum level of each tank.

Fault generation module:

Box with lock with key.

Allows generating 20 different faults.

Each fault is generated through toggle switches.

Recommended accessories: (Not included)

• AE-PLCB. Basic PLC Trainer (optional).

The AE-PLCB is available with different PLC manufacturer models. All models contain the following modules:

N-ALI02: is the Main power supply.

N-CPU: is the PLC CPU that contain the digital In/Out terminals. All CPUs types allow to connect with the PC (for programming and monitoring) and the other modules of the trainer through an   Ethernet network.

N-ESA: is the analog In/Out module used to acquire and generate analog signals.

N-HMIB: is the Human Machine Interface module with a touch screen.

N-MT: is the test module with switches, push buttons and potentiometers to generate digital and analog signals.

Software to program the PLC and the HMI device.

• AE-CP. Air compressor module (optional)

Low noise level: 40 Db maximum.

Capacity of the boiler: 9  l.

Power: 340 W.

Air intake: 50  l/min.

Maximum pressure: 8 bar or 0.8 MPa.

It Includes hoses to easy connect with the EDIBON units.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 600 x 800 x 1200 mm approx. (23.62 x 31.49 x 47.24 inches approx.)  Weight: 55 Kg approx. (121 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Introduction to flexible manufacturing system (FMS).

2.-  Introduction to pneumatics and electro-pneumatics.

3.-  Study of the sensor detection.

4.-  Manual control of tank level.

5.-  Automatic control of tank level with industrial controllers.

6.-  Manual control of temperature.

7.-  Automatic control of temperature with industrial controllers.

8.-  Manual control of tank pressure.

9.-  Automatic control of tank pressure with industrial controllers.

10.-Manual control of flow rate.

11.-Automatic control of flow rate with industrial controllers.

12.-Study of a complete automatic process control workstation.

13.-Study the faults inserted in the process with the fault generation module.

Optional

AE-PLC-CP/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.