Tender Specifications

Bench-top unit.

Anodized aluminum structure and panels of painted steel.

Diagram in the front panel with similar distribution to the elements in the real unit.

Alfa type Stirling motor: hot and cold cylinders made of stainless steel and pistons made of bronze.

Device to control the flame of the heating element, to cover it and to release it.

Alcohol lamp as heating element.

Braking system.

Electrical generator with a pulley for converting the generated mechanical energy into electrical energy. Equipped with an electrical load and current and voltage measurement system.

Instrumentation:

Two temperature sensors "J" type, one in the hot cylinder and the other in the cold cylinder.

Two pressure meters (manometers), one in the hot cylinder and the other in the cold cylinder, range: from -1 to 0.6 bar

Speed sensor (rpm), range: 0 to 3000 rpm.

Dynamometer to measure the force, range: from 0 to 1N/m.

Current and voltage sensors.

Electronic console:

Metallic box.

Temperature sensors connectors. Digital display for the temperature sensors. Selector for the temperature sensors.

Voltage sensor connector. Digital display for the voltage sensor.

Current sensor connector. Digital display for the current sensor.

Speed sensor connector. Digital display for the speed sensor.

Switches to open and close the flame device.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Unit: 450 x 450 x 600 mm approx. (17.71 x 17.71 x 23.62 inches approx.)    Weight: 35 Kg approx. (77.16 pounds approx.).

Electronic console: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx.)  Weight: 10 Kg approx. (22 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-  Study of the conversion of thermal-mechanical-electrical energy.

2.-  Study of the relation between the temperatures difference of the thermal machine and the speed generated.

3.-  Calculation of the "threshold" temperatures difference which generates motion.

4.-  Study of the mechanical power in relation to speed.

5.-  Study of the electrical power in relation to speed.

6.-  Mechanical efficiency calculation.

7.-  Electrical efficiency calculation.

8.-  Speed measurement (rpm).

9.-  Torque measurement.

10.-Measurement of the generated electrical power.

11.-Temperature measurements.

12.-Pressure measurements.

Optional

TMSB/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager –ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft –ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

-ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc...so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

User Data Base Management.

Administration and assignment of Workgroup, Task and Training sessions.

Creation and Integration of Practical Exercises and Multimedia Resources.

Custom Design of Evaluation Methods.

Creation and assignment of Formulas & Equations.

Equation System Solver Engine.

Updatable Contents.

Report generation, User Progression Monitoring and Statistics.

-ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF  is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired technical knowledge.

Innovative features:

Student Log-In & Self-Registration.

Existing Tasks checking & Monitoring.

Default contents & scheduled tasks available to be used from the first session.

Practical Exercises accomplishment by following the Manual provided by EDIBON.

Evaluation Methods to prove your knowledge and progression.

Test self-correction.

Calculations computing and plotting.

Equation System Solver Engine.

User Monitoring Learning & Printable Reports.

Multimedia-Supported auxiliary resources.