Tender Specifications

Anodized aluminum frame and panels made of painted steel.

The “MFCS3” unit mainly consists of:

Twenty-one bars made of PVC with different sizes to form different types of trusses:

Bar of 454 mm to achieve a length of 519.9 mm from center to node center.

Bar of 384.7 mm to achieve a length of 449.7 mm from center to node center.

Two bars of 359 mm to achieve a length of 424.3 mm from center to node center.

Two bars of 331 mm to achieve a length of 396.9 mm from center to node center.

Five bars of 235 mm to achieve a length of 300 mm from center to node center.

Five bars of 194 mm to achieve a length of 259.8 mm from center to node center.

Five bars of 85 mm to achieve a length of 150 mm from center to node center.

Bar-disk link pieces and pins to join the bars to the disks.

Seven node discs, two of them are used to hinge the truss structure to the frame of the unit.

Two stainless steel stiffeners to prevent lateral buckling.

Three setters, two of them to simulate the props and a third to hold the stiffeners.

Load application device with a force gauge mountable on different node discs, range: -500 – 500 N, graduations: 10 N.

Dial gauge to record the deformation of the truss under load:

Measuring range: 0 – 25 mm, accuracy 0.01 mm.

Manuals: This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Security, Maintenance and Practices manual.

Dimensions: 1000 x 500 x 1000 mm. approx. (39.37 x 19.68 x 39.37 inches approx.).  Weight: 25 Kg approx. (55.11 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Investigation of the elastic deformation of truss under point load.

2.- Calculation of support reaction and bar forces.

3.- Study of the principle of work and strain energy.

4.- Calculation of the deformation at a defined point by the application of Castigliano's first theorem.

5.- Comparison of the deformations of different trusses under the same load.

6.- Comparison of the experimental deformation with the calculated deformation.

Optional

MFCS3/ICAI. Interactive Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.

BDAS. Basic Data Acquisition System and Sensors:

For being used with mechanical modules.

BDAS is designed to monitor the measurements of each mechanical module from a computer.